## Readme
HOW TO USE THIS DOCUMENT
Welcome to the financial model used to determine the Off-Site Levy (OSL) rates for Water Treatment and Wastewater Treatment as a part of the 2024 OSL Bylaw review. This financial model uses the latest information and assumptions available. These spreadsheets are intended to demonstrate the methodology on how the OSL rates are determined. The parameters and assumptions will be updated as new information becomes available. The water treatment and wastewater treatment rates are calculated independently using very similar methodology. Both use Equivalent Population (EP) as a unit to determine the cost to service an EP. The OSL rate considers servicing the population within city boundaries only. The City of Calgary provides water treatment and wastewater treatment services to regional customers. The portion of capital costs required to service regional customers are separated from the OSL and recovered through Master Service Agreements (MSAs) with regional customers. The assumptions for regional customer servicing for each project is provided in various tabs of this file. Cell comments have been added throughout this file to aid users in understand how inputs are determined and why specific values are used.
Water Treatment Plant (WTP) Levy Tabs 1 - 5
Tab Number | Title | Description
Tab 1 | WTP Summary | This tab provides a high level summary of the steps that are taken to determine the citywide water treatment plant levy rate calculation.
Tab 2 | WTP Future + Current | This tab provides details on how the net present value was calculated for the current capacity and future capacity of water treatment plants. Column D are the net present value which is used at Step 1 of the calculation (see summary tab).Tables 1 and 2 provide a breakdown of the forecasted capital costs and anticipated borrowing rates. Tables 3 and 4 calculate the debt servicing costs and net present value.
Tab 3 | WTP Historic | This tab provides a summary of the capital costs and future value of the debt servicing taken out on expenditures between 2000 - 2023. The historic projects can be found in the OSL Annual Report.
Tab 4 | WTP Capital | This tab provide details on the individual water treatment projects and it's cash flow actuals (2016-2022) and projections (2023+). The project list goes back to 2016 so the project list for the 2016 OSL Bylaw update can be referenced.
Tab 5 | WTP Capacity | This tab provides details on the population and water treatment capacity by year. It also shows the regional Master Service Agreements, which indicate the maximum contract volumes of potable water The City has with regional customers. It also shows assumptions used in water treatment planning criteria, and benefit allocation of pre-2015 projects using a previous methodology.
Wastewater Treatment Plant (WTP) Levy Tabs 6 - 11
Tab Number | Title | Description
Tab 6 | WWTP Summary | This tab provides a high level summary of the steps that are taken to determine the citywide wastewater treatment plant levy rate calculation.
Tab 7 | WWTP Future + Current | This tab provides details on how the net present value was calculated for the current capacity and future capacity of wastewater treatment plants. Column D are the net present value which is used at Step 1 of the calculation (see summary tab).Tables 1 and 2 provide a breakdown of the forecasted capital costs and anticipated borrowing rates. Tables 3 and 4 calculate the debt servicing costs and net present value.
Tab 8 | WWTP Historic | This tab provides a summary of the capital costs and future value of the debt servicing taken out on expenditures between 2000 - 2023. The historic projects can be found in the OSL Annual Report.
Tab 9 | WWTP Capital | This tab provide details on the individual wastewater treatment projects and it's cash flow actuals (2016-2022) and projections (2023+). The project list goes back to 2016 so the project list for the 2016 OSL Bylaw update can be referenced.
Tab 10 | WWTP Capacity | This tab provides details on the population and wastewater treatment capacity by year, and the expected capacities of each expansion/upgrade project.
Tab 11 | WWTP - Pine Creek Costs | Pine Creek WWTP was completed in 2008. From the beginning, Pine Creek WWTP was designed with expansion in mind. The plant's footprint in it's current form is referred to Stage 1. The expansion that will begin in the 2023-2026 business cycle is referred to Stage 2A. Some process equipment was designed for expansion capability, where it was economical and logical to do so. This tab shows the allocation of costs across all stages for major process equipment. This information was provided by the engineering design and delivery team. All costs are in 2008 dollars. As shown in Tab 7, the original costs allotted to Stage 2A as a percentage of overall program cost (which was not included in previous OSL calculations) will be added in as a part of the Stage 2A expansion. Allotted costs for Stages 2B and beyond will be added back into OSL calculations when those expansions are triggered in the future.

## Tab 1 WTP Summary
WATER TREATMENT
2024 Levy Rate
This tab provides a high level summary of the steps that are taken to determine the citywide water treatment plant levy rate calculation.
| Step 1 | Step 2 | Step 3 | Step 4 | Step 5 | Step 6 | Step 7
| Present value of the growth related costs for Calgary. Details for this step can be found in Tab 2, Tab 3 and Tab 4. | The total current and forecasted capacity built to service growth in Calgary. Details for this step can be found in Tab 5. | Determine the value of a unit of added capacity. Step 1 divided by Step 2. | Total available current capacity plus forecasted capacity to be built. The purpose of this is to only charge for the capacity that is actually available to growth. Details for this step can be found in Tab 5. | Determine the total value of available capacity. Step 3 multiplied by Step 4 | Determine the average value of a unit of available capacity. Step 5 divided by Step 4 | Determine the total greenfield offsite levy present value by hectare. Step 6 multiplied by an assumed density of 60 EP/Ha. The 60EP/Ha is the minimum planned density required for greenfield development. Please note Established Areas is charged on an EP basis, and not by hectares.
| Present Value Calgary Growth (*) Costs (A) | Added Capacity for Calgary Based on Forecasted Growth (B) | Value per Unit of Added Growth Capacity (C) = (A) / (B) | Total Available Growth Capacity (D) | Value of Available Capacity (E) = (C) * (D) | Average Unit Value of Current & Future Available Capacity (F) = (E) / (D) | Capacity Charge by Hectare (G) = (F) * 60 EP/Ha
Current Capacity (2004-2023) | 128663442.1065 | 285433.2785 | 450.7654 | 179663.5074 | 80986090.3884
Future Capacity (2024 - 2038) | 412379131.7768 | 728832.6116 | 565.8077 | 728832.6116 | 412379131.7768
Total | 541042573.8833 | 1014265.8901 |  | 908496.1191 | 493365222.1652 | 543 | 32580

## Tab 2 WTP Future+Current
CURRENT & FUTURE COSTS OF GROWTH CAPACITY UPGRADES REQUIRED IN WATER TREATMENT PLANTS
This tab provides details on how the net present value was calculated for the current capacity and future capacity of water treatment plants. Column D are the net present value which is used at Step 1 of the calculation (see summary tab). Tables 1 and 2 provide a breakdown of the forecasted capital costs and anticipated borrowing rates. Tables 3 and 4 calculate the debt servicing costs and net present value.
TABLE 1: FORECASTED DEBT FINANCING COSTS / FUTURE CAPACITY FOR WATER TREATMENT PLANTS (In thousands)
| Capital Costs |  |  | 2023 & Prior | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
Growth Related Capital Costs Future Expansions | 478905.7004 |  |  |  | 6340.7577 | 13777.1046 | 14000.6381 | 9266.4 | 9266.4 | 9266.4 | 83397.6 | 83397.6 | 83397.6 | 83397.6 | 83397.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Glenmore | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bearspaw | 478905.7004 |  |  |  | 6340.7577 | 13777.1046 | 14000.6381 | 9266.4 | 9266.4 | 9266.4 | 83397.6 | 83397.6 | 83397.6 | 83397.6 | 83397.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TABLE 2: ANTICIPATED FINANCIAL RATES |  |  |  | 2023 & Prior | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
Borrowing Term |  |  |  |  | 2024: 10; 2025: 10; 2026: 10; 2027: 10; 2028: 10; 2029: 10; 2030: 10; 2031: 10; 2032: 10; 2033: 10; 2034: 10; 2035: 10; 2036: 10; 2037: 10; 2038: 10
Interest Rate |  |  |  |  | 2024: 4.97%; 2025: 4.918%; 2026: 4.973%; 2027: 5.094%; 2028: 5.266%; 2029: 5.382%; 2030: 5.498%; 2031: 5.565%; 2032: 5.625%; 2033: 5.679%; 2034: 5.675%; 2035: 5.671%; 2036: 5.667%; 2037: 5.663%; 2038: 5.557%
Interest Expense
Debt Servicing
Discount Rate (MPI)* |  |  |  |  | 2024: 3.58%
TABLE 3: GLENMORE FUTURE CAPACITY DETAILS (In thousands)
Year | Capital Costs | NPV Debt Servicing | FV Debt Servicing | 2023 & Prior | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Future | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TABLE 4: BEARSPAW FUTURE CAPACITY DETAILS (in thousands)
Year | Capital Costs | NPV Debt Servicing | FV Debt Servicing | 2023 & Prior | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
2024 | 6340.7577 | 6849.1861 | 8123.3883 | 0 | 2024: 406.1694; 2025: 812.3388; 2026: 812.3388; 2027: 812.3388; 2028: 812.3388; 2029: 812.3388; 2030: 812.3388; 2031: 812.3388; 2032: 812.3388; 2033: 812.3388; 2034: 406.1694
2025 | 13777.1046 | 14331.7634 | 17606.5305 | 0 | 2024: 0; 2025: 880.3265; 2026: 1760.653; 2027: 1760.653; 2028: 1760.653; 2029: 1760.653; 2030: 1760.653; 2031: 1760.653; 2032: 1760.653; 2033: 1760.653; 2034: 1760.653; 2035: 880.3265
2026 | 14000.6381 | 14097.5984 | 17938.8747 | 0 | 2024: 0; 2025: 0; 2026: 896.9437; 2027: 1793.8875; 2028: 1793.8875; 2029: 1793.8875; 2030: 1793.8875; 2031: 1793.8875; 2032: 1793.8875; 2033: 1793.8875; 2034: 1793.8875; 2035: 1793.8875; 2036: 896.9437
2027 | 9266.4 | 9059.5899 | 11940.8298 | 0 | 2024: 0; 2025: 0; 2026: 0; 2027: 597.0415; 2028: 1194.083; 2029: 1194.083; 2030: 1194.083; 2031: 1194.083; 2032: 1194.083; 2033: 1194.083; 2034: 1194.083; 2035: 1194.083; 2036: 1194.083; 2037: 597.0415
2028 | 9266.4 | 8817.907 | 12038.3617 | 0 | 2024: 0; 2025: 0; 2026: 0; 2027: 0; 2028: 601.9181; 2029: 1203.8362; 2030: 1203.8362; 2031: 1203.8362; 2032: 1203.8362; 2033: 1203.8362; 2034: 1203.8362; 2035: 1203.8362; 2036: 1203.8362; 2037: 1203.8362; 2038: 601.9181
2029 | 9266.4 | 8559.4608 | 12103.8683 | 0 | 0 | 0 | 0 | 0 | 0 | 605.1934 | 1210.3868 | 1210.3868 | 1210.3868 | 1210.3868 | 1210.3868 | 1210.3868 | 1210.3868 | 1210.3868 | 1210.3868 | 605.1934
2030 | 83397.6 | 74776.6483 | 109526.6193 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5476.331 | 10952.6619 | 10952.6619 | 10952.6619 | 10952.6619 | 10952.6619 | 10952.6619 | 10952.6619 | 10952.6619 | 10952.6619 | 5476.331
2031 | 83397.6 | 72419.058 | 109870.8453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5493.5423 | 10987.0845 | 10987.0845 | 10987.0845 | 10987.0845 | 10987.0845 | 10987.0845 | 10987.0845 | 10987.0845 | 10987.0845 | 5493.5423
2032 | 83397.6 | 70110.3209 | 110176.1154 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5508.8058 | 11017.6115 | 11017.6115 | 11017.6115 | 11017.6115 | 11017.6115 | 11017.6115 | 11017.6115 | 11017.6115 | 11017.6115 | 5508.8058
2033 | 83397.6 | 67857.2568 | 110453.0484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5522.6524 | 11045.3048 | 11045.3048 | 11045.3048 | 11045.3048 | 11045.3048 | 11045.3048 | 11045.3048 | 11045.3048 | 11045.3048 | 5522.6524
2034 | 83397.6 | 65500.3423 | 110433.5121 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5521.6756 | 11043.3512 | 11043.3512 | 11043.3512 | 11043.3512 | 11043.3512 | 11043.3512 | 11043.3512 | 11043.3512 | 11043.3512 | 5521.6756
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Future | 478905.7004 | 412379.1318 | 630211.9939 | 0 | 406.1694 | 1692.6654 | 3469.9356 | 4963.9208 | 6162.8804 | 7369.9919 | 13451.5163 | 24421.3895 | 35423.7376 | 46455.1958 | 57093.3544 | 61328.534 | 59551.2638 | 58057.2785 | 56858.319 | 55651.2075 | 49569.6831 | 38599.8099 | 27597.4618 | 16566.0036 | 5521.6756 | 0 | 0 | 0 | 0 | 0
Total | 478905.7004 | 412379.1318 | 630211.9939 | 0 | 406.1694 | 1692.6654 | 3469.9356 | 4963.9208 | 6162.8804 | 7369.9919 | 13451.5163 | 24421.3895 | 35423.7376 | 46455.1958 | 57093.3544 | 61328.534 | 59551.2638 | 58057.2785 | 56858.319 | 55651.2075 | 49569.6831 | 38599.8099 | 27597.4618 | 16566.0036 | 5521.6756 | 0 | 0 | 0 | 0 | 0
TOTAL COSTS OF FUTURE CAPACITY | 478905.7004 | 412379.1318 | 630211.9939 | 0 | 406.1694 | 1692.6654 | 3469.9356 | 4963.9208 | 6162.8804 | 7369.9919 | 13451.5163 | 24421.3895 | 35423.7376 | 46455.1958 | 57093.3544 | 61328.534 | 59551.2638 | 58057.2785 | 56858.319 | 55651.2075 | 49569.6831 | 38599.8099 | 27597.4618 | 16566.0036 | 5521.6756 | 0 | 0 | 0 | 0 | 0
TOTAL COSTS OF CURRENT CAPACITY (SEE TAB 3 FOR DETAILS) | 86177.6581 | 128663.4421 | 138336.1366 | 79172.6163 | 5235.9701 | 5235.9668 | 5235.9633 | 5235.9598 | 5235.9562 | 5217.2433 | 5198.5308 | 5167.5392 | 5158.2288 | 4356.8954 | 3268.0227 | 2478.554 | 1461.4381 | 557.0515 | 118.9703 | 0.3075 | 0.30749 | 0.30748 | 0.30746 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 565083.3585 | 541042.5739 | 768548.1305 | 79172.6163 | 5642.1396 | 6928.6321 | 8705.899 | 10199.8807 | 11398.8366 | 12587.2353 | 18650.0471 | 29588.9287 | 40581.9663 | 50812.0912 | 60361.377 | 63807.088 | 61012.7019 | 58614.3301 | 56977.2893 | 55651.515 | 49569.9906 | 38600.1173 | 27597.7693 | 16566.0036 | 5521.6756 | 0 | 0 | 0 | 0 | 0
Note on G8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These are the forecasted capital expenditures by year.
Note on G10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These is the forecasted cost to be financed. The formula includes the forecasted capital cost by year, minus the debt that was previously taken. The result here is forecasted new debt taken.
Note on G17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Forecasted Non-Residential Construction Price Index (CPI) for Calgary
Note on C39: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Calculating debt servicing cost for each year's expenditures.
Note on G39: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Projecting debt servicing cost
Note on D52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: NPV cost of debt servicing, shown in the summary tab
Note on C59: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These are the debt servicing cost for expenditures during 2000-2023, shown on the next tab

## Tab 3 WTP Historic
HISTORIC DEBT FOR WATER TREATMENT PLANTS' CURRENT CAPACITY UPGRADES
This tab provides a summary of the capital costs and future value of the debt servicing taken out on expenditures between 2000 - 2023. The historic projects can be found in the OSL Annual Report.
TABLE 1: HISTORIC DEBT SERVICING FOR 2000 - 2014 EXPENDITURES (in thousands)
| Capacity to Support Calgary Growth | Capital Costs | Future Debt Servicing | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Glenmore & Bearspaw Debt Taken |  | 88753.44 |  | 2002: 138.48; 2003: 806.88; 2004: 4963.92; 2005: 12948.48; 2006: 18000; 2007: 10199.04; 2008: 11448; 2009: 19927.68; 2010: 8160; 2011: 2160.96; 2012: 0; 2013: 0; 2014: 0; 2015: 0
Glenmore & Bearspaw Debt Interest |  |  |  | 2003: 5.5%; 2004: 4.95%; 2005: 4.65%; 2006: 4.78%; 2007: 4.89%; 2008: 4.68%; 2009: 4.75%; 2010: 3.92%; 2011: 3.41%
Glenmore & Bearspaw Debt Term (years) |  |  |  | 2003: 15; 2004: 15; 2005: 25; 2006: 25; 2007: 25; 2008: 25; 2009: 25; 2010: 25; 2011: 25
Glenmore & Bearspaw Debt Servicing (2000-2014 Debt) |  | 88753.44 | 144875.0587 | 0 | 0 | 0 | 0 | 71.7305 | 414.6067 | 1271.6871 | 2445.4738 | 3296.508 | 4213.6619 | 5367.8557 | 5840.0998 | 5968.0162 | 5968.0162 | 5968.0162 | 5968.0162 | 5968.0162 | 5968.0162 | 5968.0162 | 5896.2858 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 4696.329 | 3522.5423 | 2671.5083 | 1575.0744 | 600.1607 | 127.9165 | 0 | 0 | 0 | 0
Glenmore & Bearspaw Cash Funding (2000-2014) |  | 3333.6 | 3333.6 | 3333.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Glenmore & Bearspaw Funding (2000-2014) |  | 92087.04 | 144875.0587 | 3333.6 | 0 | 0 | 0 | 71.7305 | 414.6067 | 1271.6871 | 2445.4738 | 3296.508 | 4213.6619 | 5367.8557 | 5840.0998 | 5968.0162 | 5968.0162 | 5968.0162 | 5968.0162 | 5968.0162 | 5968.0162 | 5968.0162 | 5896.2858 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 5553.4095 | 4696.329 | 3522.5423 | 2671.5083 | 1575.0744 | 600.1607 | 127.9165 | 0 | 0 | 0 | 0
Glenmore & Bearspaw Historical Inside City (2000-2014 Debt) | 92.77% | 85425.2936 | 137486.9709 | 3092.4412 | 0 | 0 | 0 | 66.5414 | 384.6133 | 1179.691 | 2268.5638 | 3058.0326 | 3908.8378 | 4979.5351 | 5417.6162 | 5536.2789 | 5536.2789 | 5536.2789 | 5536.2789 | 5536.2789 | 5536.2789 | 5536.2789 | 5469.7376 | 5151.6656 | 5151.6656 | 5151.6656 | 5151.6656 | 5151.6656 | 5151.6656 | 5151.6656 | 5151.6656 | 5151.6656 | 5151.6656 | 5151.6656 | 4356.5879 | 3267.7151 | 2478.2464 | 1461.1306 | 556.744 | 118.6628 | 0 | 0 | 0 | 0
TABLE 2: HISTORIC DEBT SERVICING FOR 2015 - 2023 EXPENDITURES (in thousands)
| Capacity to Support Calgary Growth | Capital Costs | Future Debt Servicing | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Treatment Plant Debt Taken (2015+) |  | 752.3645 | [16 empty] | 5.3645 | 0 | 338 | 240 | 54 | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Treatment Plant Debt Interest (2015+) |  |  |  | 2015: 3.04%; 2017: 2%; 2018: 3.01%; 2019: 2.56%; 2020: 1.73%
Treatment Plant Debt Term (2015+) |  |  |  | 2015: 25; 2017: 10; 2018: 10; 2019: 10; 2020: 10
Treatment Plant Debt Taken Principal (2015+) |  |  | 752.3645 | [15 empty] | 0 | 0.14594 | 15.5045 | 31.3242 | 55.2476 | 64.2931 | 71.1551 | 72.8108 | 74.5068 | 76.2443 | 78.0242 | 79.8476 | 62.9901 | 45.6161 | 15.5604 | 6.4558 | 0.22943 | 0.23646 | 0.2437 | 0.25116 | 0.25885 | 0.26678 | 0.27495 | 0.28337 | 0.29205 | 0.30099
Treatment Plant Debt Taken Interest (2015+) |  |  | 96.8013 | [15 empty] | 0.007166 | 0.16173 | 3.8117 | 6.685 | 13.8935 | 14.3406 | 13.1527 | 11.4938 | 9.7943 | 8.0534 | 6.27 | 4.4429 | 2.5876 | 1.249 | 0.31314 | 0.10733 | 0.078125 | 0.07109 | 0.063839 | 0.056367 | 0.048666 | 0.040729 | 0.032549 | 0.024119 | 0.01543 | 0.0064754
Treatment Plant Debt Servicing (2015+) |  |  | 849.1657 | [15 empty] | 0.007166 | 0.30767 | 19.3163 | 38.0092 | 69.141 | 78.6337 | 84.3078 | 84.3045 | 84.3011 | 84.2977 | 84.2942 | 84.2906 | 65.5777 | 46.8652 | 15.8736 | 6.5631 | 0.30756 | 0.30755 | 0.30754 | 0.30753 | 0.30752 | 0.30751 | 0.3075 | 0.30749 | 0.30748 | 0.30746
TOTAL HISTORIC DEBT SERVICING OF CURRENT CAPACITY |  | 86177.6581 | 138336.1366 | 3092.4412 | 0 | 0 | 0 | 66.5414 | 384.6133 | 1179.691 | 2268.5638 | 3058.0326 | 3908.8378 | 4979.5351 | 5417.6162 | 5536.2789 | 5536.2789 | 5536.2789 | 5536.2861 | 5536.5866 | 5555.5952 | 5574.2881 | 5538.8786 | 5230.2994 | 5235.9734 | 5235.9701 | 5235.9668 | 5235.9633 | 5235.9598 | 5235.9562 | 5217.2433 | 5198.5308 | 5167.5392 | 5158.2288 | 4356.8954 | 3268.0227 | 2478.554 | 1461.4381 | 557.0515 | 118.9703 | 0.3075 | 0.30749 | 0.30748 | 0.30746
Note on C11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These are the total cost (City+Regional) of previous expansion projects from 2000-2014
Note on B13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Adjusting the total cost to exclude regional, Row 8 shows Calgary's portion only. See Tab 5 on how benefit allocation was calculated.
Note on D24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is the total debt servicing for expenditures in 2015-2023. This is Calgary's portion of the debt (regional is excluded)

## Tab 4 WTP Capital
CAPITAL COST DETAILS OF CURRENT & FUTURE PROJECTS
This tab provide details on the individual water treatment projects and it's cash flow actuals (2016-2022) and projections (2023+). The project list goes back to 2016 so the project list for the 2016 OSL Bylaw update can be referenced.
TABLE 1: GROWTH RELATED CAPITAL COSTS ( In thousand $)
Project Name | Plant | Start or Estimated / Actual Completion Date | Indicated Y/N if the project was identified in the 2016 Off-site Levy Bylaw | Capital Costs | [19 empty] | Growth Benefit |  |  |  | Greenfield & Redevelopment Proportion of Costs
|  |  |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | TOTAL | Growth | % Greenfield | %Redevelopment | %Regional | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | TOTAL
Glenmore UV Disinfection | Glenmore | TBD | Y | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% | 56.6% | 23.5% | 20% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GM WTP Capacity Expansion | Glenmore | TBD | Y | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% | 56.6% | 23.5% | 20% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[28 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BPWTP Capacity Upgrades | Bearspaw | 2017 - 2026 | Y | 0 | 169.5863 | 212.529 | 146.6242 | 11.8358 | 43.8893 | 34.5318 | 1308.32 | 5460 | 5624.32 | 5903.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18914.6765 | 100% | 44.8% | 35.4% | 19.8% | 0 | 136.0082 | 170.4483 | 117.5926 | 9.4923 | 35.1992 | 27.6945 | 1049.2726 | 4378.92 | 4510.7046 | 4734.2381 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15169.5705
Bearspaw RTF Fourth Thickener | Bearspaw | Completed | Y | 1573.0207 | 464.0774 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2037.0981 | 20% | 56.6% | 23.5% | 20% | 251.9979 | 74.3452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 326.3431
Bearspaw UV Disinfection | Bearspaw | TBD | Y | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% | 44.8% | 35.4% | 19.8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bearspaw North Feeder Pump Station STN012 Upgrade | Bearspaw | 2021-2023 | Y | Capital Costs 2021: 206.9462; Capital Costs 2022: 1938.2725; Capital Costs 2023: 1137.1991 | 3282.4177 | 37% | 28.3% | 40.6% | 31.1% | 0 | 0 | 0 | 0 | 0 | 52.7568 | 494.1238 | 289.9062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 836.7867
New Water Treatment Plant | Bearspaw | NEW | N | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10400 | 10400 | 10400 | 10400 | 10400 | 93600 | 93600 | 93600 | 93600 | 93600 | 520000 | 100% | 59% | 30.1% | 10.9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9266.4 | 9266.4 | 9266.4 | 9266.4 | 9266.4 | 83397.6 | 83397.6 | 83397.6 | 83397.6 | 83397.6 | 463320
TOTAL |  |  |  | 1573.0207 | 633.6637 | 212.529 | 146.6242 | 11.8358 | 250.8355 | 1972.8043 | 2445.5191 | 5460 | 16024.32 | 16303.04 | 10400 | 10400 | 10400 | 93600 | 93600 | 93600 | 93600 | 93600 | 544234.1922 |  |  |  |  | 251.9979 | 210.3534 | 170.4483 | 117.5926 | 9.4923 | 87.956 | 521.8183 | 1339.1788 | 4378.92 | 13777.1046 | 14000.6381 | 9266.4 | 9266.4 | 9266.4 | 83397.6 | 83397.6 | 83397.6 | 83397.6 | 83397.6 | 479652.7004

## Tab 5 WTP Capacity
Water Treatment Capacity - COMBINED SERVICE AREA (Bearspaw and Glenmore WTPs)
This tab provides details on the population and water treatment capacity by year. It also shows the regional Master Service Agreements, which indicate the maximum contract volumes of potable water The City has with regional customers. It also shows assumptions used in water treatment planning criteria, and benefit allocation of pre-2015 projects using a previous methodology.
TABLE 1: POPULATION PROJECTS AND WATER TREATMENT CAPACITY AVAILABLE FOR CALGARY
Year | 2022 Population Forecast Scenario ("2022 MDP Update (Jan 2022)" + May 2019 Regional) |  |  | Water Treatment Capacity |  | BPWTP Upgrades | GMWTP Upgrades | Regional MSA Contracted Capacity (ML/d) | Capacity for Inside the City (ML/d)
| Calgary Equivalent Population (Jan 2022) | Regional Equivalent Population (May 2019 Data) | Total Service Area Equivalent Population | Capacity of Combined Treatment Systems (ML/d) | Capacity of Combined Treatment Plant Systems in Equiv Pop | BPWTP Incremental Capacity (in Equiv Pop) | GMWTP Incremental Capacity (in Equiv Pop)
2005 | 956078 | 62655.7104 | 1018733.7104 | 750 | 1153846.1538
2006 | 991759 | 66891.7104 | 1058650.7104 | 750 | 1153846.1538
2007 | 1019942 | 71929.7104 | 1091871.7104 | 750 | 1153846.1538
2008 | 1042892 | 76114.7104 | 1119006.7104 | 850 | 1307692.3077 | 153846.1538
2009 | 1065455 | 81791.7104 | 1147246.7104 | 850 | 1307692.3077
2010 | 1071515 | 84383.7104 | 1155898.7104 | 850 | 1307692.3077
2011 | 1090936 | 88251.7104 | 1179187.7104 | 950 | 1461538.4615 |  | 153846.1538
2012 | 1120225 | 91680.7104 | 1211905.7104 | 950 | 1461538.4615
2013 | 1149552 | 96472.7104 | 1246024.7104 | 950 | 1461538.4615
2014 | 1197264 | 103765.7104 | 1301029.7104 | 950 | 1461538.4615
2015 | 1230641 | 102996.1155 | 1333637.1155 | 950 | 1461538.4615
2016 | 1235167.6 | 107869 | 1343036.6 | 950 | 1461538.4615
2017 | 1246330 | 112081.6155 | 1358411.6155 | 950 | 1461538.4615
2018 | 1267831.2 | 116198.1155 | 1384029.3155 | 950 | 1461538.4615
2019 | 1285711 | 120029.1155 | 1405740.1155 | 950 | 1461538.4615
2020 | 1296247.5 | 123716.8297 | 1419964.3297 | 950 | 1461538.4615
2021 | 1306784 | 130674.8297 | 1437458.8297 | 965 | 1649572.6496
2023 | 1371481.7917 | 140905.49 | 1512387.2817 | 965 | 1649572.6496 |  |  | 57.58 | 907.42
2028 | 1480920.0405 | 170439.2445 | 1651359.285 | 1120 | 1914529.9145 | 264957.265 |  | 99.7 | 1020.3
2033 | 1567584.7728 | 193250.2124 | 1760834.9851 | 1120 | 1914529.9145 |  |  | 119.23 | 1000.77
2038 | 1648465.8365 | 219506.2901 | 1867972.1266 | 1420 | 2694497.1537 | 569259.962 |  | 119.23 | 1300.77
TABLE 2: BENEFIT ALLOCATION AND ASSUMPTIONS FOR PRE-2015 UPGRADES AND EXPANSIONS
Inside City Plant Capacity | [6 empty] | TABLE 3: PER CAPITA PLANNING CRITERIA
Year | City Population | Regional Population | Total | % Inside City |  |  | Per Capita Consumption Assumptions
2005 | 956078 | 62655.7104 | 1018733.7104 | 93.85% |  |  | Year | Liters/EP/day
2006 | 991759 | 66891.7104 | 1058650.7104 | 93.68% |  |  | up to 2020 | 650
2007 | 1019942 | 71929.7104 | 1091871.7104 | 93.41% |  |  | 2021-2034 | 585
2008 | 1042892 | 76114.7104 | 1119006.7104 | 93.2% |  |  | 2035+ | 527
2009 | 1065455 | 81791.7104 | 1147246.7104 | 92.87%
2010 | 1071515 | 84383.7104 | 1155898.7104 | 92.7%
2011 | 1090936 | 88251.7104 | 1179187.7104 | 92.52%
2012 | 1120225 | 91680.7104 | 1211905.7104 | 92.43%
2013 | 1149552 | 96472.7104 | 1246024.7104 | 92.26%
2014 | 1197264 | 103765.7104 | 1301029.7104 | 92.02%
2015 | 1230641 | 102996.1155 | 1333637.1155 | 92.28%
2016 | 1235167.6 | 107869 | 1343036.6 | 91.97%
2017 | 1246330 | 112081.6155 | 1358411.6155 | 91.75%
2018 | 1267831.2 | 116198.1155 | 1384029.3155 | 91.6%
2019 | 1285711 | 120029.1155 | 1405740.1155 | 91.46%
2020 | 1296247.5 | 123716.8297 | 1419964.3297 | 91.29%
2021 | 1306784 | 130674.8297 | 1437458.8297 | 90.91%
TABLE 4: CURRENT AND FUTURE WATER TREATMENT CAPACITY AVAILABLE FOR CALGARY
Capacity | System Wide Capacity by Population (EP) (B) | Capacity to support Calgary Growth (C) | Capacity to support Calgary Growth (B*C) | Total Available Capacity to support Growth in Calgary (GF+EST) at the end of 2023
Base Capacity (2004-2023) | 307692.3077 | 92.77% | 285433.2785 | 179663.5074
Future Capacity (2024+) |  |  | 728832.6116 | 728832.6116
Total Capacity |  |  |  | 908496.1191
As mentioned in consultation sessions, water treatment plants are designed based on volume of water treated. Water consumption trends are monitored using water meter billing data to determine per capita usage. The per capita water consumption rate is updated periodically to reflect changes in consumption trends.
Treatment capacity in volume is converted to Equivalent Population (EP) for the purposes of OSL rate determination.
Regional customers have Master Service Contracts (MSAs) with The City of Calgary. Within the MSA, the maximum volumes of water delivered are defined. The regional component is separated from the total plant capacity, the remaining amount is the capacity available for Calgary.
Note on H12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The max day demand planning criteria up until 2021 is 650L/capita/day
Note on I22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These the maximum volumes we have to deliver to regional partners, remaining capacity is available to serve Calgary
Note on J22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is the capacity available for Calgary, after our regional obligations
Note on G24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Starting 2021, the max day demand planning criteria is 585L/capita/day. This additional capacity is coming from the Capacity Upgrade projects anticipated to be completed by 2026
Note on G26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: New capacity from new WTP coming in the 2030s.
Note on H30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: It is assumed the per capital consumption rates applies to all customer categories (residential, commerical, etc.)
Note on C51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: We recognize this percentage is taking the average of Calgary's population's utilization of the plants from 2005-2016. We decided to keep it 2005-2016 so it's consistent to the benefit allocation used for the 2016 OSL Bylaw update. If we used the average from 2005-2021, it would be a very small change compared to 2005-2016.
Note on D51: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total capacity added to serve Calgary (excludes Regional component)
Note on D52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please note regional servicing requirements have already been considered to calculate this rating.

## Tab 6 WWTP Summary
THE CITY OF CALGARY
WASTEWATER TREATMENT
024 Levy Rate
This tab provides a high level summary of the steps that are taken to determine the citywide wastewater treatment plant levy rate calculation.
| Step 1 | Step 2 | Step 3 | Step 4 | Step 5 | Step 6 | Step 7
| Present value of the growth related costs for Calgary. Details for this step can be found in Tab 7, Tab 7 and Tab 9. | The total current and forecasted capacity built to service growth in Calgary. Details for this step can be found in Tab 10. | Determine the value of a unit of added capacity. Step 1 divided by Step 2. | Total available current capacity plus forecasted capacity to be built. The purpose of this is to only charge for the capacity that is actually available to growth. Details for this step can be found in Tab 10. | Determine the total value of available capacity. Step 3 multiplied by Step 4 | Determine the average value of a unit of available capacity. Step 5 divided by Step 4 | Determine the total greenfield offsite levy present value by hectare. Step 6 multiplied by a assumed density of 60 EP/Ha. The 60EP/Ha is the minimum planned density required for greenfield development. Please note Established Areas is charged on an EP basis, and not by hectares.
| Present Value Calgary Growth (*) Costs (A) | Added Capacity for Calgary Based on Forecasted Growth (B) | Value per Unit of Added Growth Capacity (C) = (A) / (B) | Total Available Growth Capacity (D) | Value of Available Capacity (E) = (C) * (D) | Average Unit Value of Current & Future Available Capacity (F) = (E) / (D) | Capacity Charge by Hectare (G) = (F) * 60 EP/Ha
Current Capacity (2004-2014) | 354099461.5057 | 242500 | 1460.204 | 0 | 0
Forecasted Future Capacity (2015+)
Bonnybrook | 784654752.4532 | 321720 | 2438.9368 | 208052.7194 | 507427437.1035
Pine & Fish Creek | 379141777.8976 | 161075 | 2353.8214 | 161075 | 379141777.8976
Total | 1517895991.8565 | 725295 |  | 369127.7194 | 886569215.0011 | 2401 | 144060
Note on E9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The capacity built in the Pine Creek WWTP is used up.
Note on B12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: As mentioned in consultation sessions, a 2015 reference date was shown as that was the start year of the Bonnybrook WWTP plant expansion currently underway. The 2015 date was chosen so the present value and the entire plant expansion can be considered holistically

## Tab 7 WWTP Future+Current
CURRENT & FUTURE COSTS OF GROWTH CAPACITY UPGRADES REQUIRED IN WASTEWATER TREATMENT PLANTS
This tab provides details on how the net present value was calculated for the current capacity and future capacity of wastewater treatment plants. Column D are the net present value which is used at Step 1 of the calculation (see summary tab).Tables 1 and 2 provide a breakdown of the forecasted capital costs and anticipated borrowing rates. Tables 3 and 4 calculate the debt servicing costs and net present value.
TABLE 1: FORECASTED DEBT FINANCING COSTS / FUTURE CAPACITY FOR WASTEWATER TREATMENT PLANTS (In thousands)
| Capital Costs |  |  | 2023 & Prior | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
Growth Related Capital Costs Future Expansions | 581195.1699 |  |  |  | 2024: 24401.8549; 2025: 44325.4893; 2026: 27906.959; 2027: 74127.2047; 2028: 72042.5516; 2029: 10571.2658; 2030: 20565.278; 2031: 26184.9861; 2032: 43018.9787; 2033: 65230.0264; 2034: 66534.6274; 2035: 60218.6675; 2036: 46067.2805; 2037: 0; 2038: 0
Bonnybrook | 222310.5759 |  |  |  | 2024: 24183.6219; 2025: 43435.5691; 2026: 27226.2904; 2027: 63069.5993; 2028: 58535.4113; 2029: 5755.724; 2030: 104.3598; 2031: 0; 2032: 0; 2033: 0; 2034: 0; 2035: 0; 2036: 0
Pine Creek + Fish Creek | 358884.594 |  |  |  | 2024: 218.233; 2025: 889.9203; 2026: 680.6686; 2027: 11057.6054; 2028: 13507.1403; 2029: 4815.5418; 2030: 20460.9181; 2031: 26184.9861; 2032: 43018.9787; 2033: 65230.0264; 2034: 66534.6274; 2035: 60218.6675; 2036: 46067.2805
TABLE 2: ANTICIPATED FINANCIAL RATES |  |  |  | 2023 & Prior | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | Total
Borrowing Term |  |  |  |  | 2024: 10; 2025: 10; 2026: 10; 2027: 10; 2028: 10; 2029: 10; 2030: 10; 2031: 10; 2032: 10; 2033: 10; 2034: 10; 2035: 10; 2036: 10; 2037: 10; 2038: 10
Interest Rate |  |  |  |  | 2024: 4.97%; 2025: 4.918%; 2026: 4.973%; 2027: 5.094%; 2028: 5.266%; 2029: 5.382%; 2030: 5.498%; 2031: 5.565%; 2032: 5.625%; 2033: 5.679%; 2034: 5.675%; 2035: 5.671%; 2036: 5.667%; 2037: 5.663%; 2038: 5.557%
Interest Expense
Debt Servicing
Discount Rate (MPI)* |  |  |  |  | 2024: 3.58%
TABLE 3: BONNYBROOK FUTURE CAPACITY DETAILS (In thousands)
Year | Capital Costs | NPV (**) Debt Servicing | FV Debt Servicing | 2023 & Prior | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
2024 | 24183.6219 | 26122.7656 | 30982.5673 | 0 | 1549.1284 | 3098.2567 | 3098.2567 | 3098.2567 | 3098.2567 | 3098.2567 | 3098.2567 | 3098.2567 | 3098.2567 | 3098.2567 | 1549.1284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 43435.5691 | 45184.2614 | 55508.7365 | 0 | 0 | 2775.4368 | 5550.8737 | 5550.8737 | 5550.8737 | 5550.8737 | 5550.8737 | 5550.8737 | 5550.8737 | 5550.8737 | 5550.8737 | 2775.4368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 27226.2904 | 27414.8441 | 34884.7682 | 0 | 0 | 0 | 1744.2384 | 3488.4768 | 3488.4768 | 3488.4768 | 3488.4768 | 3488.4768 | 3488.4768 | 3488.4768 | 3488.4768 | 3488.4768 | 1744.2384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 63069.5993 | 61661.9947 | 81272.4847 | 0 | 0 | 0 | 0 | 4063.6242 | 8127.2485 | 8127.2485 | 8127.2485 | 8127.2485 | 8127.2485 | 8127.2485 | 8127.2485 | 8127.2485 | 8127.2485 | 4063.6242 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 58535.4113 | 55702.3021 | 76045.7625 | 0 | 0 | 0 | 0 | 0 | 3802.2881 | 7604.5762 | 7604.5762 | 7604.5762 | 7604.5762 | 7604.5762 | 7604.5762 | 7604.5762 | 7604.5762 | 7604.5762 | 3802.2881 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 5755.724 | 5316.6164 | 7518.1867 | 0 | 0 | 0 | 0 | 0 | 0 | 375.9093 | 751.8187 | 751.8187 | 751.8187 | 751.8187 | 751.8187 | 751.8187 | 751.8187 | 751.8187 | 751.8187 | 375.9093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 104.3598 | 93.572 | 137.0565 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8528 | 13.7056 | 13.7056 | 13.7056 | 13.7056 | 13.7056 | 13.7056 | 13.7056 | 13.7056 | 13.7056 | 6.8528 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Future | 222310.5759 | 221496.3562 | 286349.5623 | 0 | 1549.1284 | 5873.6936 | 10393.3688 | 16201.2314 | 24067.1438 | 28245.3413 | 28628.1034 | 28634.9562 | 28634.9562 | 28634.9562 | 27085.8279 | 22761.2627 | 18227.8818 | 12420.0192 | 4554.1068 | 375.9093 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BB Historical (2015 - 2023) | 541457 | 563158.3962 | 631101.5071 | 144176.5382 | 52094.0443 | 55119.3209 | 55827.6179 | 56442.1318 | 58294.9451 | 50760.8946 | 44220.948 | 34894.2403 | 23435.3038 | 14303.1925 | 9465.0404 | 6402.9305 | 5552.7927 | 4933.3459 | 3075.4534 | 3075.212 | 3074.9634 | 3074.7073 | 2877.884 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 763767.5759 | 784654.7525 | 917451.0695 | 144176.5382 | 53643.1726 | 60993.0145 | 66220.9867 | 72643.3632 | 82362.0889 | 79006.2359 | 72849.0514 | 63529.1966 | 52070.2601 | 42938.1487 | 36550.8683 | 29164.1932 | 23780.6745 | 17353.365 | 7629.5602 | 3451.1214 | 3074.9634 | 3074.7073 | 2877.884 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TABLE 4: PINE CREEK + FISH CREEK FUTURE CAPACITY DETAILS (In thousands)
Year | Capital Costs | NPV (**) Debt Servicing | FV Debt Servicing | 2023 & Prior | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
2024 | 218.233 | 925.748 | 1137.2787 | 0 | 13.9793 | 27.9587 | 27.9587 | 27.9587 | 27.9587 | 27.9587 | 27.9587 | 27.9587 | 27.9587 | 27.9587 | 13.9793 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 889.9203 | 685.3825 | 872.1337 | 0 | 0 | 56.8639 | 113.7279 | 113.7279 | 113.7279 | 113.7279 | 113.7279 | 113.7279 | 113.7279 | 113.7279 | 113.7279 | 56.8639 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 680.6686 | 10810.8187 | 14249.0055 | 0 | 0 | 0 | 43.6067 | 87.2134 | 87.2134 | 87.2134 | 87.2134 | 87.2134 | 87.2134 | 87.2134 | 87.2134 | 87.2134 | 43.6067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 11057.6054 | 12853.3958 | 17547.682 | 0 | 0 | 0 | 0 | 712.4503 | 1424.9005 | 1424.9005 | 1424.9005 | 1424.9005 | 1424.9005 | 1424.9005 | 1424.9005 | 1424.9005 | 1424.9005 | 712.4503 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 13507.1403 | 4448.1612 | 6290.1109 | 0 | 0 | 0 | 0 | 0 | 877.3841 | 1754.7682 | 1754.7682 | 1754.7682 | 1754.7682 | 1754.7682 | 1754.7682 | 1754.7682 | 1754.7682 | 1754.7682 | 877.3841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 4815.5418 | 18345.8382 | 26871.459 | 0 | 0 | 0 | 0 | 0 | 0 | 314.5055 | 629.0111 | 629.0111 | 629.0111 | 629.0111 | 629.0111 | 629.0111 | 629.0111 | 629.0111 | 629.0111 | 314.5055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 20460.9181 | 22737.9688 | 34496.9946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1343.573 | 2687.1459 | 2687.1459 | 2687.1459 | 2687.1459 | 2687.1459 | 2687.1459 | 2687.1459 | 2687.1459 | 2687.1459 | 1343.573 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 26184.9861 | 36165.0024 | 56832.1386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1724.8497 | 3449.6995 | 3449.6995 | 3449.6995 | 3449.6995 | 3449.6995 | 3449.6995 | 3449.6995 | 3449.6995 | 3449.6995 | 1724.8497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 43018.9787 | 53075.0363 | 86391.6379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2841.6069 | 5683.2139 | 5683.2139 | 5683.2139 | 5683.2139 | 5683.2139 | 5683.2139 | 5683.2139 | 5683.2139 | 5683.2139 | 2841.6069 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2033 | 65230.0264 | 52256.1905 | 88103.8853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4319.5819 | 8639.1638 | 8639.1638 | 8639.1638 | 8639.1638 | 8639.1638 | 8639.1638 | 8639.1638 | 8639.1638 | 8639.1638 | 4319.5819 | 0 | 0 | 0 | 0 | 0 | 0
2034 | 66534.6274 | 45652.9055 | 79726.3063 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4405.1943 | 8810.3885 | 8810.3885 | 8810.3885 | 8810.3885 | 8810.3885 | 8810.3885 | 8810.3885 | 8810.3885 | 8810.3885 | 4405.1943 | 0 | 0 | 0 | 0 | 0
2035 | 60218.6675 | 33711.4254 | 60979.8348 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3986.3153 | 7972.6306 | 7972.6306 | 7972.6306 | 7972.6306 | 7972.6306 | 7972.6306 | 7972.6306 | 7972.6306 | 7972.6306 | 3986.3153 | 0 | 0 | 0 | 0
2036 | 46067.2805 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3048.9917 | 6097.9835 | 6097.9835 | 6097.9835 | 6097.9835 | 6097.9835 | 6097.9835 | 6097.9835 | 6097.9835 | 6097.9835 | 3048.9917 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 358884.594 | 291667.8733 | 473498.4674 | 0 | 0 | 56.8639 | 157.3346 | 913.3915 | 2503.2259 | 3695.1155 | 5353.194 | 8421.6167 | 12988.0734 | 20149.2622 | 28874.0384 | 37208.684 | 44143.5204 | 46436.4552 | 44846.6208 | 43654.7312 | 41996.6527 | 38928.23 | 34361.7734 | 27200.5845 | 18475.8084 | 10084.2988 | 3048.9917 | 0 | 0 | 0
Pine Creek Stage 2A | 56370.6659 | 87473.9046 | 93310.3386 | 55814.3123 | 3609.8487 | 3609.8487 | 3609.8488 | 3375.2821 | 3269.8314 | 3269.8314 | 3269.8314 | 3269.8314 | 3269.8314 | 2933.2192 | 2375.936 | 1216.0432 | 416.8425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 415255.26 | 379141.7779 | 566808.806 | 55814.3123 | 3609.8487 | 3666.7127 | 3767.1834 | 4288.6736 | 5773.0573 | 6964.9469 | 8623.0254 | 11691.4481 | 16257.9048 | 23082.4814 | 31249.9743 | 38424.7272 | 44560.363 | 46436.4552 | 44846.6208 | 43654.7312 | 41996.6527 | 38928.23 | 34361.7734 | 27200.5845 | 18475.8084 | 10084.2988 | 3048.9917 | 0 | 0 | 0
PINE HISTORICAL (2000 - 2014) | 228191.7394 | 354099.4615 | 377725.6861 | 225939.5875 | 14612.878 | 14612.878 | 14612.8782 | 13663.3385 | 13236.468 | 13236.468 | 13236.468 | 13236.468 | 13236.4681 | 11873.842 | 9617.9272 | 4922.6137 | 1687.4029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL COSTS OF FUTURE CAPACITY (2015+) | 1179022.8359 | 1163796.5304 | 1484259.8754 | 199990.8504 | 57253.0214 | 64659.7272 | 69988.1701 | 76932.0368 | 88135.1462 | 85971.1828 | 81472.0768 | 75220.6447 | 68328.1649 | 66020.6301 | 67800.8426 | 67588.9204 | 68341.0375 | 63789.8203 | 52476.181 | 47105.8526 | 45071.6161 | 42002.9373 | 37239.6574 | 27200.5845 | 18475.8084 | 10084.2988 | 3048.9917 | 0 | 0 | 0 | 0
TOTAL | 1407214.5752 | 1517895.9919 | 1861985.5615 | 425930.4379 | 71865.8994 | 79272.6052 | 84601.0483 | 90595.3753 | 101371.6142 | 99207.6508 | 94708.5448 | 88457.1127 | 81564.633 | 77894.4721 | 77418.7698 | 72511.5341 | 70028.4404 | 63789.8203 | 52476.181 | 47105.8526 | 45071.6161 | 42002.9373 | 37239.6574 | 27200.5845 | 18475.8084 | 10084.2988 | 3048.9917 | 0 | 0 | 0 | 0
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Projected capital expenditures by year.
Note on G15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Forecasted Non-Residential Construction Price Index (CPI) for Calgary.
Note on C20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Calculating the debt servicing cost based on capital expenditures by year
Note on C30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Adding in debt servicing cost for 2015-23 expenditures so we can calculate an unit of capacity for the entire program, as explained in the Sept 8 consultation session
Note on D31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: NPV used to calculate the Present Value of the program
Note on C54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: A portion of Pine Creek's cost was held back in 2008 to account for equipment sized to serve the future. Details in the Pine Creek Cost tab. We're adding in the cost for this plant expansion. Additional cost held back for future stages of expansions will be added back in when those expansions are required.

## Tab 8 WWTP Historic
HISTORIC DEBT FOR WASTEWATER TREATMENT PLANTS' CURRENT CAPACITY UPGRADES
This tab provides a summary of the capital costs and future value of the debt servicing taken out on expenditures between 2000 - 2023. The historic projects can be found in the OSL Annual Report.
TABLE 1: HISTORIC DEBT SERVICING FOR 2000-2014 EXPENDITURES (in thousands)
| Capacity to Support Calgary Growth | Capital Costs | Future Debt Servicing | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
Pine Creek Debt Taken |  | 386415 |  | 2004: 12000; 2005: 40000; 2006: 60000; 2007: 130000; 2008: 72000; 2009: 72415
Pine Creek Debt Interest |  |  |  | 2004: 5.18%; 2005: 4.36%-4.65%; 2006: 4.78%-5.01%; 2007: 4.89%-4.95%; 2008: 4.68%-4.78%; 2009: 4.75%-4.98%
Pine Creek Debt Term (years) |  |  |  | 2004: 20; 2005: 20/25; 2006: 25; 2007: 25; 2008: 25; 2009: 25
Pine Creek Debt Servicing |  | 386415 | 663989.4094 | 0 | 0 | 0 | 0 | 0 | 1762.5956 | 5084.3729 | 9271.9444 | 17987.6839 | 22623.5882 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3526 | 25362.7568 | 24570.3726 | 24570.3726 | 24570.3726 | 24570.3726 | 24570.3729 | 22040.9797 | 17853.4073 | 9137.6682 | 3132.2645
Pine Creek Cash Funding |  | 37169 |  | 2000: 0; 2001: 2800; 2002: 0; 2003: 1183; 2004: 2850; 2005: 3141; 2006: 14146; 2007: 13049
Total Pine Creek Funding |  | 423584 | 663989.4094 | 0 | 2800 | 0 | 1183 | 2850 | 4903.5956 | 19230.3729 | 22320.9444 | 17987.6839 | 22623.5882 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3523 | 27125.3526 | 25362.7568 | 24570.3726 | 24570.3726 | 24570.3726 | 24570.3726 | 24570.3729 | 22040.9797 | 17853.4073 | 9137.6682 | 3132.2645 | 0 | 0 | 0 | 0
Pine Creek Applicable to Future Stages (2b, 3a, 3b,3c,3d) | 30.74% | 130220.6956 | 215554.2602 | 0 | 860.7925 | 0 | 363.6848 | 876.1638 | 1507.4923 | 5911.9148 | 6862.0366 | 5529.88 | 6955.0771 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.036 | 8339.0362 | 7797.1685 | 7553.5691 | 7553.5691 | 7553.5691 | 7553.5691 | 7553.5692 | 6775.9682 | 5488.5999 | 2809.156 | 962.9392 | 0 | 0 | 0 | 0
Pine Creek Applicable to Stage 2A | 13.72% | 58114.0886 | 96196.2253 | 0 | 384.1492 | 0 | 162.303 | 391.009 | 672.7544 | 2638.3329 | 3062.3474 | 2467.8407 | 3103.8689 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3721.4936 | 3479.6723 | 3370.9602 | 3370.9602 | 3370.9602 | 3370.9602 | 3370.9602 | 3023.9373 | 2449.4185 | 1253.6528 | 429.7346 | 0 | 0 | 0 | 0
Pine Creek Applicable to Stage 2A (Inside City) | 97% | 56370.6659 | 93310.3386 | 0 | 372.6247 | 0 | 157.4339 | 379.2787 | 652.5717 | 2559.1829 | 2970.4769 | 2393.8055 | 3010.7528 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8487 | 3609.8488 | 3375.2821 | 3269.8314 | 3269.8314 | 3269.8314 | 3269.8314 | 3269.8314 | 2933.2192 | 2375.936 | 1216.0432 | 416.8425 | 0 | 0 | 0 | 0
Pine Creek Historical Inside City | 97% | 228191.7394 | 377725.6861 | 0 | 1508.4065 | 0 | 637.3018 | 1535.3424 | 2641.6484 | 10359.7214 | 12024.6637 | 9690.2642 | 12187.7029 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.8782 | 13663.3385 | 13236.468 | 13236.468 | 13236.468 | 13236.468 | 13236.4681 | 11873.842 | 9617.9272 | 4922.6137 | 1687.4029 | 0 | 0 | 0 | 0
TABLE 2: HISTORIC DEBT SERVICING FOR 2015-2023 EXPENDITURES (in thousands)
| Capacity to Support Calgary Growth | Capital Costs | Future Debt Servicing | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Bonnybrook Debt Taken |  | 541456.995 |  | 2015: 53889; 2016: 59585.087; 2017: 56492; 2018: 67045; 2019: 101880; 2020: 93715; 2021: 51660; 2022: 24600; 2023: 32590.908
Bonnybrook Debt Interest |  |  |  | 2015: 2.97%-3.04%; 2016: 1.78%-2.3%; 2017: 2%-2.67%; 2018: 2.83%-3.01%; 2019: 1%-1.28%; 2020: 1.29%-1.73%; 2021: 1.67%-2.85%; 2022: 3.07%-4.7%; 2023: 4.9%-5.127%
Bonnybrook Debt Term (years) |  |  |  | 2015: 25; 2016: 10; 2017: 10; 2018: 10; 2019: 10; 2020: 10; 2021: 10; 2022: 10
Bonnybrook Debt Principal |  |  | 541457 | [15 empty] | 94.8094 | 1474.1872 | 7638.2374 | 12937.496 | 20364.1802 | 30247.5529 | 38873.4502 | 43641.9005 | 46639.9007 | 48279.3999 | 49809.4708 | 52155.1231 | 45873.873 | 40440.8435 | 32060.7068 | 21289.8429 | 12668.6668 | 8234.1763 | 5471.106 | 4820.9543 | 4397.5805 | 2680.3837 | 2761.7211 | 2845.5271 | 2931.8767 | 2824.0329
Bonnybrook Debt Interest |  |  | 89644.5071 | [15 empty] | 263.3246 | 1727.1497 | 3182.2043 | 4436.7659 | 6581.8272 | 7949.834 | 8405.5192 | 8452.1438 | 8479.4202 | 7548.218 | 6632.661 | 6139.822 | 4887.0216 | 3780.1045 | 2833.5335 | 2145.461 | 1634.5257 | 1230.8642 | 931.8245 | 731.8384 | 535.7654 | 395.0697 | 313.4909 | 229.4363 | 142.8306 | 53.8511
Bonnybrook Debt Servicing |  |  | 631101.5071 | [15 empty] | 358.134 | 3201.3369 | 10820.4417 | 17374.2619 | 26946.0074 | 38197.3869 | 47278.9694 | 52094.0443 | 55119.3209 | 55827.6179 | 56442.1318 | 58294.9451 | 50760.8946 | 44220.948 | 34894.2403 | 23435.3038 | 14303.1925 | 9465.0404 | 6402.9305 | 5552.7927 | 4933.3459 | 3075.4534 | 3075.212 | 3074.9634 | 3074.7073 | 2877.884
TOTAL HISTORIC DEBT SERVICING OF CURRENT CAPACITY |  | 769648.7343 | 1008827.1932 | 0 | 1508.4065 | 0 | 637.3018 | 1535.3424 | 2641.6484 | 10359.7214 | 12024.6637 | 9690.2642 | 12187.7029 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14612.878 | 14971.012 | 17814.2149 | 25433.3197 | 31987.1399 | 41558.8854 | 52810.2649 | 61891.8474 | 66706.9223 | 69732.199 | 70440.4962 | 70105.4703 | 71531.4131 | 63997.3626 | 57457.4159 | 48130.7083 | 36671.772 | 26177.0345 | 19082.9676 | 11325.5442 | 7240.1956 | 4933.3459 | 3075.4534 | 3075.212 | 3074.9634 | 3074.7073 | 2877.884
Note on C11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Total cost of Pine Creek Stage 1 (City + Regional portions)
Note on D11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cash is not debt serviced
Note on B13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of original expansion alloted to future expansions. See the Tab 11 for details
Note on B14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cost of orginal construction alloted to Stage 2A, see Tab 11 for details
Note on B16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This was the original benefit allocation for the City's percentage for Pine Creek in 2008.
Note on B17: Nguyen, Helena: Adjustment factor to exclude regional customers
Note on C17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: City (excluding regional)'s portion of the original Stage 1, after subtracting alloted cost for future expansion. Row 12 shows the debt servicing cost for this portion only
Note on AB21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Actual until June 2023, forecast for remaining of the year
Note on AB22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The formula here calculates the forecasted capital costs, minus the debt previously taken, minus 3.008M provided by the ACRP for this project. The result is the net new amount of debt taken to finance the project for the year.
Note on D28: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Calculating debt servicing cost for 2015-23 expenditures. Reply: Please note this if for Calgary's portion only, regional is excluded.

## Tab 9 WWTP Capital
CAPITAL COST DETAILS OF CURRENT & FUTURE PROJECTS
This tab provide details on the individual wastewater treatment projects and it's cash flow actuals (2016-2022) and projections (2023+). The project list goes back to 2016 so the project list for the 2016 OSL Bylaw update can be referenced.
TABLE 1: GROWTH RELATED CAPITAL COSTS ( In thousand $)
Project Name | Plant | Start or Estimated / Actual Completion Date | Indicated Y/N if the project was identified in the 2016 Off-site Levy Bylaw | CAPITAL COSTS | [21 empty] | GROWTH BENEFIT |  |  |  | Greenfield & Redevelopment Proportion of Costs
|  |  |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | Total | Growth | % Greenfield | %Redevelopment | %Regional | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | Total
13.2&5kv System Expansion | BB | Completed | Y | 4877.8823 | 18823.1286 | 16616.5664 | 766.2897 | 12.6712 | 12.8399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 41109.3781 | 100% | 44.3% | 32.3% | 23.5% | 3736.4578 | 14418.5165 | 12728.2899 | 586.9779 | 9.7061 | 9.8354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31489.7836
Power Management System | BB | Completed | Y | 167.2635 | 68.7878 | 1044.7642 | 1563.7327 | 707.0337 | 282.8708 | 327.3383 | 446.9812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 4608.7723 | 100% | 44.3% | 32.3% | 23.5% | 128.1239 | 52.6915 | 800.2894 | 1197.8193 | 541.5878 | 216.679 | 250.7412 | 342.3876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3530.3196
Power Distribution Upgrades | BB | Scope merged with another project | Y | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 50% | 44.3% | 32.3% | 23.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
600V System Upgrades | BB | Completed | Y | 250.3405 | 774.5566 | 1453.1236 | 7413.3592 | 4217.1983 | 972.4162 | 277.8954 | 22.7862 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 15381.676 | 50% | 44.3% | 32.3% | 23.5% | 95.8804 | 296.6552 | 556.5463 | 2839.3166 | 1615.1869 | 372.4354 | 106.4339 | 8.7271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5891.1819
BB Dewatering Building | BB | Completed | Y | 45023.2723 | 36406.0553 | 1975.3765 | 939.0548 | 133.0373 | -0.16709 | 0.95114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 84477.5802 | 50% | 44.3% | 32.3% | 23.5% | 17243.9133 | 13943.5192 | 756.5692 | 359.658 | 50.9533 | -0.063995 | 0.36429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32354.9132
BB Centrate / Supernatant Treatment | BB | 2025-2028 | Y | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1523.157 | 6214.4815 | 15846.9272 | 8081.9326 | 0 | 0 | 0 | [5 empty] | 31666.4982 | 80% | 44.3% | 32.3% | 23.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 933.3906 | 3808.2343 | 9710.997 | 4952.6083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19405.2301
BB Plant D Expansion | BB | 2015-2030 | Y | 23754.745 | 27839.0762 | 87353.1433 | 116775.7384 | 107629.8848 | 49726.6113 | 30127.5908 | 29969.5084 | 31457.6829 | 54616.64 | 28798.64 | 68754.4 | 69951.44 | 7514 | 136.24 | 0 | [5 empty] | 734405.341 | 100% | 44.3% | 32.3% | 23.5% | 18196.1347 | 21324.7323 | 66912.5078 | 89450.2156 | 82444.4917 | 38090.5843 | 23077.7346 | 22956.6434 | 24096.5851 | 41836.3462 | 22059.7582 | 52665.8704 | 53582.803 | 5755.724 | 104.3598 | 0 | 0 | 0 | 0 | 0 | 0 | 562554.4912
FC WWTP Capacity Assessment | Pine/Fish | Completed | Y | 156.7603 | 92.6045 | 49.1512 | 0.51718 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 299.0332 | 100% | 31.5% | 44.3% | 24.2% | 118.8243 | 70.1942 | 37.2566 | 0.39203 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 226.6672
BB Struvite Recovery | BB | 2024-2027 | Y | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 574.1216 | 4392.0334 | 8959.7487 | 4569.4719 | 0 | 0 | 0 | 0 | [5 empty] | 18495.3756 | 20% | 31.5% | 44.3% | 24.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87.0368 | 665.8323 | 1358.2979 | 692.7319 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2803.8989
Pine Creek WWTP Stage 2 Expansion | Pine | 2025-2036 | Y | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.3725 | 897.9797 | 14587.8699 | 17819.4463 | 6352.9575 | 26993.2957 | 34544.8366 | 56753.2701 | 86055.4438 | 87776.5533 | 79444.1523 | 60774.7764 | 472880.954 | 100% | 31.5% | 44.3% | 24.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 667.3223 | 680.6686 | 11057.6054 | 13507.1403 | 4815.5418 | 20460.9181 | 26184.9861 | 43018.9787 | 65230.0264 | 66534.6274 | 60218.6675 | 46067.2805 | 358443.7631
South Catchment Capacity Upgrade (remove costs of study) | Pine | 2024-2025 | Y | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 287.9063 | 293.6648 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 581.5711 | 100% | 31.5% | 44.3% | 24.2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 218.233 | 222.5979 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 440.8309
WS - BB Blower Upgrades | BB | Completed | Y | 9064.9619 | 2469.2014 | 241.2884 | 298.2254 | 29.6732 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 12103.3503 | 100% | 44.3% | 32.3% | 23.5% | 6943.7608 | 1891.4083 | 184.8269 | 228.4407 | 22.7296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9271.1664
Bonnybrook Capacity Upgrades | BB | Completed | Y | 30370.1329 | 12747.0516 | 8739.4721 | 2829.36 | 4065.4664 | 463.8155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 59215.2985 | 100% | 44.3% | 32.3% | 23.5% | 23263.5218 | 9764.2415 | 6694.4356 | 2167.2897 | 3114.1473 | 355.2827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45358.9187
TOTAL |  |  |  | 113665.3587 | 99220.4621 | 117472.8858 | 130586.2774 | 116794.9649 | 51458.3866 | 30733.7757 | 30439.2758 | 32319.7108 | 61705.8676 | 44870.8499 | 103758.669 | 95852.8189 | 13866.9575 | 27129.5357 | 34544.8366 | 56753.2701 | 86055.4438 | 87776.5533 | 79444.1523 | 60774.7764 | 1475224.8287 |  |  |  |  | 69726.617 | 61761.9587 | 88670.7217 | 96830.1098 | 87798.8029 | 39044.7528 | 23435.274 | 23307.7581 | 24401.8549 | 44325.4893 | 27906.959 | 74127.2047 | 72042.5516 | 10571.2658 | 20565.278 | 26184.9861 | 43018.9787 | 65230.0264 | 66534.6274 | 60218.6675 | 46067.2805 | 1071771.1649
TABLE 2: GROWTH RELATED CAPITAL COSTS BY PLANT ( In thousand $) | [29 empty] | TABLE 3: GROWTH RELATED CAPITAL COSTS BY PLANT - GREENFIELD & REDEVELOPMENT PROPORTION OF COSTS ( In thousand $)
Summary of Capital Costs |  |  |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | Totals |  |  |  |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | Totals
Base Capacity | [24 empty] | 0 | [25 empty] | 0
Bonnybrook |  |  |  | 113508.5984 | 99127.8575 | 117423.7345 | 130585.7602 | 116794.9649 | 51458.3866 | 30733.7757 | 30439.2758 | 32031.8045 | 60531.8303 | 43972.8702 | 89170.7991 | 78033.3726 | 7514 | 136.24 | 0 | 0 | 0 | 0 | 0 | 0 | 1001463.2704 |  |  |  |  | 69607.7927 | 61691.7645 | 88633.4651 | 96829.7178 | 87798.8029 | 39044.7528 | 23435.274 | 23307.7581 | 24183.6219 | 43435.5691 | 27226.2904 | 63069.5993 | 58535.4113 | 5755.724 | 104.3598 | 0 | 0 | 0 | 0 | 0 | 0 | 712659.9037
Pine Creek & Fish |  |  |  | 156.7603 | 92.6045 | 49.1512 | 0.51718 | 0 | 0 | 0 | 0 | 287.9063 | 1174.0373 | 897.9797 | 14587.8699 | 17819.4463 | 6352.9575 | 26993.2957 | 34544.8366 | 56753.2701 | 86055.4438 | 87776.5533 | 79444.1523 | 60774.7764 | 473761.5583 |  |  |  |  | 118.8243 | 70.1942 | 37.2566 | 0.39203 | 0 | 0 | 0 | 0 | 218.233 | 889.9203 | 680.6686 | 11057.6054 | 13507.1403 | 4815.5418 | 20460.9181 | 26184.9861 | 43018.9787 | 65230.0264 | 66534.6274 | 60218.6675 | 46067.2805 | 359111.2612
[25 empty] | 1475224.8287 | [25 empty] | 1071771.1649
Note on D15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The costs of this project was previously included as "South Catchment Capacity Upgrade" in the 2016 OSL. This project got split out of the Capacity Upgrade and became it's own project.

## Tab 10 WWTP Capacity
WASTEWATER TREATMENT CAPACITY - COMBINED SERVICE AREA (Bonnybrook, Fish Creek and Pine Creek WWTPs)
This tab provides details on the population and wastewater treatment capacity by year, and the expected capacities of each expansion/upgrade project.
TABLE 1: POPULATION PROJECTIONS AND WASTEWATER TREATMENT CAPACITY AVAILABLE FOR CALGARY
Year | 2022 Population Forecast Scenario ("2022 MDP Update (Jan 2022)" + Dec 2020 Regional) |  |  | Capacity of Combined Treatment Plant Systems (EP) | PCWWTP | BBWWTP Upgrade and Plant D
| City Equivalent Population (Jan 2022) | Regional Equvalent Population (Dec 2020 Data) | Total Service Area Equivalent Population |  | PCWWTP Capacity (EP) | BBWWTP Capacity Upgrade (EP)
2005 | 956078 | 51844 | 1007922 | 1122000
2006 | 991759 | 56068 | 1047827 | 1122000
2007 | 1019942 | 61036.5 | 1080978.5 | 1122000
2008 | 1042892 | 65560 | 1108452 | 1372000 | 250000
2009 | 1065455 | 71198 | 1136653 | 1372000
2010 | 1071515 | 74708 | 1146223 | 1372000
2011 | 1090936 | 81891.079 | 1172827.079 | 1372000
2012 | 1120225 | 86011.079 | 1206236.079 | 1372000
2013 | 1149552 | 91276.079 | 1240828.079 | 1372000
2014 | 1197264 | 100414.079 | 1297678.079 | 1372000
2015 | 1230641 | 109879.1424 | 1340520.1424 | 1372000
2016 | 1235167.6 | 114030.571 | 1349198.171 | 1419750 |  | 47750
2017 | 1246330 | 119156.571 | 1365486.571 | 1435500 |  | 15750
2018 | 1267831.2 | 124618.571 | 1392449.771 | 1476250 | 25000 | 15750
2019 | 1285711 | 130079.714 | 1415790.714 | 1492000 |  | 15750
2020 | 1296247.5 | 133574.714 | 1429822.214 | 1492000
2021 | 1306784 | 137075.714 | 1443859.714 | 1708700 |  | 216700
2023 | 1371481.7917 | 148908.914 | 1520390.7057 | 1708700
2028 | 1480920.0405 | 179022.664 | 1659942.7045 | 1921000 | 104000 | 108300
2033 | 1567584.7728 | 205415.0807 | 1772999.8534 | 1971000 | 50000
2038 | 1648465.8365 | 232371.1973 | 1880837.0339 | 2433500 | 162500 | 300000
TABLE 2: CURRENT AND FUTURE WASTEWATER TREATMENT CAPACITY AVAILABLE FOR CALGARY
Capacity | System Wide Capacity by Population (EP) (B) | Capacity to support Calgary Growth (C) | Capacity to support Calgary Growth (B*C) | Capacity to support Growth (GF+EST) at the end of 2023
Base Capacity ( 2004-2014) | 250000 | 97% | 242500 | 0
Future Capacity (2015+)
Bonnybrook | 420000 | 76.6% | 321720 | 208052.7194
Pine Creek & Fish Creek | 212500 | 75.8% | 161075 | 161075
Total Future Capacity | 882500 |  | 482795 | 369127.7194
Total Capacity |  |  |  | 369127.7194
Note on C5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: December 2020 regional population data is the latest data we have available from our regional partners.
Note on F9: Nguyen, Helena: Original Capacity of Pine Creek Stage 1, all of this capacity has been used by now
Note on G17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multi-year incremental capacity gains from the Bonnybrook Capacity Upgrades project, along with the supporting projects on the capital list
Note on F19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Pine Creek underwent a plant optimization exercise with stress testing and debottlenecking constraints to add 25,000EP to its rating. The cost of this project is not added into the OSL
Note on G22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: BBWWTP Plant D expansion Phase 1
Note on F24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Fish Creek WWTP is undergoing a plant upgrade project to be completed by 2028. The upgrades are mostly regulatory driven, this shows the EP increase from the upgrades. The cost of this project is not included in the OSL due to the requirements for the upgrades being regulatory driven
Note on G24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: BBWWTP Plant D expansion Phase 2
Note on F25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Capacity gained as a part of the planned wet weather upgrades for Stage 2A
Note on F26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Pine Creek Stage 2A main process upgrade
Note on G26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Anticipated BB WWTP Plant E expansion in the future. OSL collection not started in this bylaw upate because spending is not projected to begin in the next business cycle
Note on C32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The original 2008 plant assumed 97% of the plant capacity was to serve Calgary
Note on D32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Capacity to serve Calgary after excluding regional customers.
Note on C34: Nguyen, Helena: benefit allocation. Refer to the OSL background report for the benefit allocation of 44.3% Greenfield and 32.3% Established Area
Note on C35: Nguyen, Helena: benefit allocation Refer to the OSL background report for the benefit allocation of 31.5%Greenfield and 44.3% Established Area

## Tab 11 WWTP-PineCreek Costs
PINE CREEK WWTP - Distribution of 2008 Construction Costs Across All Stages
Pine Creek WWTP was completed in 2008. From the beginning, Pine Creek WWTP was designed with expansion in mind. The plant's footprint in it's current form is referred to Stage 1. The expansion that will begin in the 2023-2026 business cycle is referred to Stage 2A. Some process equipment was designed for expansion capability, where it was economical and logical to do so. This tab shows the allocation of costs across all stages for major process equipment. This information was provided by the engineering design and delivery team. All costs are in 2008 dollars. As shown in Tab 7, the original costs allotted to Stage 2A as a percentage of overall program cost (which was not included in previous OSL calculations) will be added in as a part of the Stage 2A expansion. Allotted costs for Stages 2B and beyond will be added back into OSL calculations when those expansions are triggered in the future.
TABLE 1: PINE CREEK WWTP STAGE 1 TOTAL COST BY PROCESS AREA (In M$) |  |  | TABLE 2: DISTRIBUTION OF STAGE 1 TOTAL COSTS ACROSS ALL STAGES
Process Area |  | Stage 1 Total Costs | Additional cost: Stage 1 costs allotted to Stage 2A | Stage 1 | Stage 2A | Stage 2B | Stage 3A | Stage 3B | Stage 3C | Stage 3D | Total Stage 1 to Stage 3D
Site Development |  | 20 | 2.8571 | 2.8571 | 2.8571 | 2.8571 | 2.8571 | 2.8571 | 2.8571 | 2.8571 | 20
Headworks |  | 42 | 11.1667
| Influent Pumps | 15 | 5 | 5 | 5 | 5 |  |  |  |  | 15
| Screening | 7.5 | 0 | 7.5 | [6 empty] | 7.5
| Grit Removal | 12.5 | 4.1667 | 4.1667 | 4.1667 | 4.1667 |  |  |  |  | 12.5
| Truck Loadout | 7 | 2 | 3 | 2 | 2 |  |  |  |  | 7
Primary Treatment |  | 36
| Primary Clarifiers | 18 | 0 | 18 | [6 empty] | 18
| Odour Control | 18 | 0 | 18 | [6 empty] | 18
Secondary Treatment |  | 77 | 3.5
| Bioreactors | 36 | 0 | 36 | [6 empty] | 36
| Secondary Clarifiers | 25 | 0 | 25 | [6 empty] | 25
| Blower Building | 16 | 3.5 | 9 | 3.5 | 3.5 |  |  |  |  | 16
Tertiary Treatment & Outfall |  | 38 | 4.8571
| Filtration | 20 | 0 | 20 | [6 empty] | 20
| UV Disinfection | 12 | 4 | 4 | 4 | 4 |  |  |  |  | 12
| Outfall | 6 | 0.85714 | 0.85714 | 0.85714 | 0.85714 | 0.85714 | 0.85714 | 0.85714 | 0.85714 | 6
Solids Processing |  | 85 | 12.9286
| WAS Thickening | 18 | 5.5 | 7 | 5.5 | 5.5 |  |  |  |  | 18
| Fermenters | 15 | 0 | 15 | [6 empty] | 15
| Digesters | 35 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 35
| DSST & Pumping | 17 | 2.4286 | 2.4286 | 2.4286 | 2.4286 | 2.4286 | 2.4286 | 2.4286 | 2.4286 | 17
Digester Gas Handling |  | 41 | 11.0952
| Gas Handling | 11 | 3 | 5 | 3 | 3 |  |  |  |  | 11
| PGH | 20 | 6.6667 | 6.6667 | 6.6667 | 6.6667 |  |  |  |  | 20
| Cogeneration | 10 | 1.4286 | 1.4286 | 1.4286 | 1.4286 | 1.4286 | 1.4286 | 1.4286 | 1.4286 | 10
Other |  | 18.5 | 2.6429
| OMA Building | 11 | 1.5714 | 1.5714 | 1.5714 | 1.5714 | 1.5714 | 1.5714 | 1.5714 | 1.5714 | 11
| Computer System | 7.5 | 1.0714 | 1.0714 | 1.0714 | 1.0714 | 1.0714 | 1.0714 | 1.0714 | 1.0714 | 7.5
| Lab & Office Bldg. | - | 0 | [7 empty] | 0
Subtotal - Construction |  | 357.5 | 49.0476 | 198.5476 | 49.0476 | 49.0476 | 15.2143 | 15.2143 | 15.2143 | 15.2143 | 357.5
Total |  | 357.5 | 49.0476 | 198.5476 | 49.0476 | 49.0476 | 15.2143 | 15.2143 | 15.2143 | 15.2143 | 357.5
Note on C56: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is the subtotal of construction costs only. Other costs required to build the plant, such as engineering consulting costs are not included here.