## Sheet1
DESIGN SYMBOLS FOR LUMINAIRES AND POLES
LUMINAIRE TYPE | DESCRIPTION
A | A - 70W HPS PostTop
AA | AA - 1000W MH QuadPack (4 Unit)
AB | AB - 1000W MH Floodlight
AC | AC - 1000W MV Floodlight
AD | AD - 116W INCAND Other (12 Lamp Olym Plaz)
AE | AE - 400W HPS SquareHead
AF | AF - 250W HPS PostTop (Prodel Globe LRT)
AG | AG - 100W HPS DusktoDawn
AH | AH - 250W HPS Floodlight
AJ | AJ - 400W HPS Floodlight
AK | AK - 100W HPS PostTop (Holophane/RLS)
AL | AL - 250W HPS PostTop (Prodel Type Lantern)
AM | AM - 100W HPS PostTop (Prodel Type Lantern)
AN | AN - 400W HPS Other (Expressway Mongoose)
AP | AP - 150W HPS TearDrop (Louise Bridge)
AQ | AQ - 150W HPS TearDrop (McKenzie Twn Trad)
AR | AR - 150W HPS SquareHead
AS | AS - 100W HPS PostTop (Cylynder 4 ST SW)
ASS | ASS - 100 Watt HPS Contemporary Quad Tap 4 St
AT | AT - 100W HPS DusktoDawn
AU | AU - 250W MH TearDrop
AV | AV - 250W MH TearDrop (Trad-King)
AW | AW - 250W MH PostTop (Stephen Av Mall)
AX | AX - 250W MV Other (Olympic Way)
AY | AY - 100W MH Domus (Promroads Domes)
AZ | AZ - 250W HPS Underpass (Wall pack)
B | B - 100W HPS Cobrahead (BIH)
BA | BA - 250W MH PostTop (Chinatown)
BB | BB - 250W MH TearDrop (McKenzie)
BC | BC - 150W HPS Cobrahead (Flat Lens)
BCB | BCB - 150 Watt H.P.S. Flat Lens Cobrahead (Black)
BD | BD - 400W HPS Cobrahead (Flat Lens)
BE | BE - 200W HPS Cobrahead (Flat Lens)
BEB | BEB - 200 Watt H.P.S Flat Lens Cobrahead (Black)
BF | BF - 100W HPS Cobrahead (Flat Lens)
BFB | BFB - 100 Watt H.P.S. Flat Lens Cobrahead (Black)
BG | BG - 400W MH SquareHead (Flat Lens Shoebox)
BH | BH - 135W LPS Other
BI | BI - 100W HPS TearDrop
BJ | BJ - 250W MV DusktoDawn
BK | BK - 150W HPS PostTop (Globe-Frost 10 ST NW)
BL | BL - 750W HPS RoundHead (Flat Lens, Kim Lght, Sarcee NW)
BM | BM - 1000W HPS Cobrahead (High Mast Area Cooper HMX)
BN | BN - 250W HPS TearDrop (Trad/Mackenzie)
BO | BO - 100W HPS PostTop (Trad)
BP | BP - 310W HPS Cobrahead (Helios Flat Glass)
BQ | BQ - 310W HPS Cobrahead (Helios Sag Glass)
BR | BR - 100W HPS Domus (Elbow Dr)
BS | BS - 150W HPS Domus (Elbow Dr)
BT | BT - 150W HPS Underpass (WallPack)
BU | BU - 125W MV PostTop (Mt Royal)
BV | BV - 310W HPS Cobrahead (Citea Flat Glass)
BW | BW - 250W MH Cobrahead
BX | BX - 250W MH Floodlight
BY | BY - 400W HPS Cobrahead (Helios Flat Glass)
BZ | BZ - 100W HPS Shoebox
C | C - 150W HPS PostTop (III KingAcorn)
CA | CA - 100W HPS PostTop (Ser - Trad 17 AV)
CB | CB - 150W HPS PostTop (Ser - Trad 17 AV)
CC | CC - 100W HPS PostTop (Lumca Lant - Globe)
CD | CD - 150W HPS PostTop (Lumca Lant - Globe)
CE | CE - 100W MH HID Underpass
CF | CF - 70W MH HID Pathway
CG | CG - 70W HPS Wallpack
CH | CH - 250W MH Cobrahead Flat Lens (Downtown)
CI | CI - 250W MH Domus (Hard Hat)
CJ | CJ - 250W HPS Domus - (Memorial Dr)
CK | CK - 100W HPS Post Top (4st Replacement)
CL | CL - 250W MH Transit Decorative Roadway Luminaire
CM | CM - 70W MH Transit Decorative Pedestrian Luminaire
CN | CN - 100 Watt HPS Golden Rod (Inglewood)
CO | CO - 150 Watt MH Post Top (East Village)
CP | CP - 100 Watt MH Pendant fixture (East Village)
CQ | CQ - 1000 Watt H.P.S. Cobrahead (240 Volt)
CR | CR - 150 Watt HPS Underpass Wall Pack
CS | CS - 250 Watt HPS Domus
CT | CT - 150 Watt HPS Domus (Memorial Dr)
CU | CU - 150 Watt HPS Multi Tap Wall Pack
CV | CV - 250 Watt HPS Globe (Centre St. Bridge)
CW | CW - 150 Watt HPS Pedestrian Globe (Centre St. Bridge)
CX | CX - 100 Watt HPS Pier Floodlight (Centre St. Bridge)
CY | CY - 70 Watt HPS Kiosk (Centre St. Bridge)
CZ | CZ - 35 Watt HPS Wall Sconce (Centre St. Bridge)
D | D - 250W HPS SquareHead
DA | DA - 250 Watt HPS Floodlight (Centre St. Bridge)
DB | DB - 150 Watt HPS Floodlight (Centre St. Bridge)
DC | DC - 175 Watt MH Greenway
DD | DD - 400 Watt HPS Mongoose (Expressway Horizontal)
DE | DE - 250 Watt HPS Mongoose (Expressway Horizontal)
DF | DF - 250 Watt MH Flat Lens Cobrahead (Downtown)
DG | DG - 250 Watt MH Flat Lens Cobrahead - Black (Downtown)
E | E - 250W HPS PostTop (Type V)
F | F - 1000W HPS QuadPack (4 - Unit Type V)
G | G - 175W MV DusktoDawn
H | H - 1000W HPS Cobrahead (BIH Type III)
J | J - 250W MV DusktoDawn
K | K - 250W MV PostTop (Type II)
L | L - 400W HPS Cobrahead (BIH)
LA | LA - 102W Cold Cathode Florescent - Ceiling Neon Tube (Peace Bridge)
LB | LB - 24W LED Under Hand Rail Tube (Peace Bridge)
LC | LC - 1W LED Way-Finding Recessed (Peace Bridge)
LD | LD - 26W LED Lower Exterior Flood (Peace Bridge)
LE | LE - 17W LED Entrance Spotlight (Peace Bridge)
LF | LF - 45W LED Cobrahead, 4000K (ERS10A3E15409)
LG | LG - 60W LED Cobrahead, 4000K (ERS10B3E15409)
LH | LH - 73W LED Cobrahead, 4000K (ERS10C3E15409)
LI | LI - 95W LED Cobrahead, 4000K (ERS10C3E17409)
LK | LK - 112W LED Cobrahead, 4000K (ERS20F3E15409)
LL | LL - 125W LED Cobrahead, 4000K (ERS20G3E15409)
LLB | LLB - 125W LED Cobrahead, 4000K (ERS20G3E15409) Black
LM | LM - 73W LED Cobrahead, 5000K (ERS10C3E15509)
LN | LN - 95W LED Cobrahead, 5000K (ERS10C3E17509)
LO | LO - 45W LED Cobrahead, 4000K (ERS10A3D15409)
LOB | LOB - 45W LED Cobrahead, 4000K (ERS10A3D15409) Black
LP | LP - 99W LED Cobrahead, 4000K (ERS20E3E15409)
LPB | LPB - 99W LED Cobrahead, 4000K (ERS20E3E15409) Black
LQ | LQ - 88W LED Cobrahead, 4000K (ERS20D3E15409)
LR | LR - 68W LED Cobrahead, 5000K (NXT48M072ES4GY1ULX2H)
LS | LS - 92W LED Cobrahead, 5000K (NXT48M072ES6GY1ULX2H)
LT | LT - 158W LED Cobrahead, 5000K (NXT72M072ES7GY1ULX2H)
LU | LU - 53W LED Cobrahead, 5000K (NXT48M072ES3GY1ULX2H)
LV | LV - 135W LED Cobrahead, 5000K (NXT72M072ES6GY1ULX2H)
LW | LW - 189W LED Cobrahead, 4000K (ERS20H3C17409)
LX | LX - 151W LED Cobrahead, 5000K (ERS30J3E15509
LY | LY - 183W LED Cobrahead, 5000K (ERS30L3E15509
LZ | LZ - 222W LED Cobrahead, 5000K (ERS40P3E15509)
M | M - 250W MV PostTop (Type V)
MA | MA - 234W LED Cobrahead, 5000K (ERS40Q3E15509)
MB | MB - 274W LED Cobrahead, 5000K (ERS40T3E15509)
MC | MC - 76W LED Wallpack, 4000K (EWSW0C440ABLCK)
MD | MD - 290W LED Mongoose, 5000K (MGLED45KASMHVGPSCP7)
ME | ME - 100W LED Globe, 4500K (KCKG22RR1AWIII)
MF | MF - 107W LED Shoebox, 4000K (AE02LEDE1T2R)
MG | MG - 168W LED Mongoose, 5000K (MGLED45KASMHVGNLPSCP7)
MH | MH - 252W LED High Mast, 5000K (HMLED2065KASGMPSCP7)
MI | MI - 376W LED High Mast, 5000K, 240V (HMLED2095KASGMPSCP7)
MJ | MJ - 376W LED High Mast, 5000K, 480V (HMLED2095KAHGMPSCP7)
MK | MK - 500W LED High Mast, 5000K (HMLED2125KAHGAWPSCP7)
ML | ML - 39W LED Cobrahead, 4000K (ERL10B7A1404)
MLB | MLB - 39W LED Cobrahead, 4000K (ERL10B7A1404) Black
MM | MM - 51W LED Cobrahead, 4000K (ERL10C7E1404)
MMB | MMB - 51W LED Cobrahead, 4000K (ERL10C7E1404) Black
MN | MN - 70W LED Cobrahead, 4000K (ERL10D3E1404)
MNB | MNB - 70W LED Cobrahead, 4000K (ERL10D3E1404) Black
MO | MO - 60W LED Domus, 4000K
MP | MP - 100W LED Domus, 4000K
MQ | MQ - 60W LED Acorn, 4000K
MR | MR - 75W LED Acorn, 4000K
MS | MS - 100W LED Acorn, 4000K
MT | MT - 60W LED King Globe, 4000K
MU | MU - 75W LED King Globe, 4000K
MV | MV - 40W LED Domus, 4000K
MW | MW - 301W LED Cobrahead, 5000K (ERS4HT3E1)
MX | MX - 500W LED High Mast-MA, 5000K (HMLED12COB)
MY | MY - 500W LED High Mast-Area Wide (240W), 5000K (HMLED2125K)
MZ | MZ - 32W LED Cobrahead, 3000K (ERL104D130-CDS)
MZB | MZB - 32W LED Cobrahead, 3000K (ERL104D130-CDS) Black
N | N - 250W MV Cobrahead (BIH)
NA | NA - 32W LED Cobrahead, 3000K (ERL104E130)
NAB | NAB - 32W LED Cobrahead, 3000K (ERL104E130) Black
NB | NB - 41W LED Cobrahead, 3000K (ERL105E130)
NBB | NBB - 41W LED Cobrahead, 3000K (ERL105E130) Black
NC | NC - 67W LED Cobrahead, 3000K (ERL107E130)
NCB | NCB - 67W LED Cobrahead, 3000K (ERL107E130) Black
ND | ND - 90W LED Cobrahead, 4000K (ERS110E140)
NDB | NDB - 90W LED Cobrahead, 4000K (ERS110E140) Black
NE | NE - 125W LED Cobrahead, 4000K (ERS113E140)
NEB | NEB - 125W LED Cobrahead, 4000K (ERS113E140) Black
NF | NF - 132W LED Cobrahead, 4000K (ERS216E140)
NFB | NFB - 132W LED Cobrahead, 4000K (ERS216E140) Black
NG | NG - 162W LED Cobrahead, 4000K (ERS219E140)
NGB | NGB - 162W LED Cobrahead, 4000K (ERS219E140) Black
NH | NH - 219W LED Cobrahead, 4000K (ERS223E140)
NHB | NHB - 219W LED Cobrahead, 4000K (ERS223E140) Black
NI | NI - 275W LED Cobrahead (240V), 4000K (ERS227E140)
NIB | NIB - 275W LED Cobrahead (240V), 4000K (ERS227E140) Black
NJ | NJ - 275W LED Cobrahead (480V), 4000K (ERS227E140)
NJB | NJB - 275W LED Cobrahead (480V), 4000K (ERS227E140) Black
NK | NK – 252W LED High Mast, 240V, 4000K (HMLED2064KASGANP7PSC)
NL | NL – 376W LED High Mast, 240V, 4000K (HMLED2094KASGANP7PSC)
NM | NM – 376W LED High Mast, 480V, 4000K (HMLED2094KAHGANP7PSC)
NN | NN – 376W LED High Mast, 240V, 4000K (HMLED2094KASGMPSCP7)
NO | NO – 376W LED High Mast, 480V, 4000K (HMLED2094KAHGMPSCP7)
NOLMNR | No Luminaire
NP | NP – 500W LED High Mast, 480V, 4000K (HMLED2124KAHGMPSCP7)
NQ | NQ – 500W LED High Mast, 240V, 4000K (HMLED2124KASGMPSCP7)
NR | NR - 90W LED Capella Roadway, 4000K (CPLM90W49LED4K-ES)
NS | NS - 65W LED Capella Pedestrian, 4000K (CPLM65W49LED4K-ES)
NT | NT - 252W LED High Mast, 480V, 4000K (HMLED2064KAHGANP7PSC)
NU | NU - 83W LED Avery, 4000K (EPAS0C3D40ABBLCKD)
NV | NV - 83W LED Avery, 3000K (EPAS0C3D40ABBLCKD)
NW | NW - 90W LED Cobrahead, 3000K (ERS110E130)
NWB | NWB - 90W LED Cobrahead, 3000K (ERS110E130) Black
NX | NX - 125W LED Cobrahead, 3000K (ERS113E130)
NXB | NXB - 125W LED Cobrahead, 3000K (ERS113E130) Black
NY | NY - 132W LED Cobrahead, 3000K (ERS216E130)
NZ | NZ - 162W LED Cobrahead, 3000K (ERS219E130)
OA | OA - 219W LED Cobrahead, 3000K (ERS223E130)
OB | OB - 275W LED Cobrahead, 3000K (ERS227E130)
OC | OC - 275W LED Cobrahead, 480V, 3000K (ERS227E130)
OD | OD - 60W LED Overhead Bar Powercore, 4000K (910503703743)
OE | OE - 7W LED In Ground Goldstar, 4000K (SGDLEDE66MFLA9MAC12)
OF | OF - 40W LED Domus, 3000K (CY55P1B-3M-120@277)
OG | OG - 60W LED Domus, 3000K (CY55P1B-3M-120@277)
OH | OH - 100W LED Domus, 3000K (CY55P1B-3M-120@277)
OI | OI - 20W LED Mini Domus, 3000K (SY21P1-3M-120@277)
OJ | OJ - 50W LED Wallpack Sconce, 4000K (PE-C/G-VG-BBW)
OK | OK - 48W LED Walkway, 3000K (Cree AREEDR2MR304EUL) Black
OL | OL - 138W LED Cobrahead, 4000K (ERS2H3C1)
OM | OM - 56W LED Shoebox, 4000K (GLEONAE01E1T3)
ON | ON - 107W LED Shoebox, 4000K (GLEONAE02E1T3)
OO | OO - 157W LED Shoebox, 4000K (GLEONAE03E1T3)
OP | OP - 30W LED Shoebox, 4000K (GLEONAE01E1T3)
OQ | OQ - 38W LED Shoebox, 4000K (GLEONAE01E1T3)
OR | OR - 54W LED Shoebox, 4000K (GLEONAE02 E1T3)
OS | OS - 107W LED Shoebox, 4000K (GLEONAE02E1T3)
OT | OT - 92W LED Globe, 4500K (KG22RR1AWIII100(SSL)1063)
OU | OU - 60W LED Acorn, 3000K (K118RB2AR3K)
OV | OV - 75W LED Acorn, 3000K (K118RB2AR3K)
OW | OW - 100W LED Acorn, 3000K (K118RB2AR3K)
OX | OX - 21W LED Ridgeview, 4000K (RDGE01EUGM)
OY | OY - 41W LED Wallpack, 5000K (LDWPGL4AED)
OZ | OZ - 68W LED Wallpack, 4000K (KEENE553)
P | P - 400W MV Cobrahead (BIH Type II / III)
PA | PA - 100W LED Horizontal Tenon, 5000K (WL100XHTI1350NN)
PB | PB - 6W LED Pedestrian Panel, 4000K
PC | PC - 100W LED Tubular Column (SLL011025)
PD | PD - 96W LED Hess Type III, 4000K (SR740S4LVNWMEUNIVA23RCDG)
PE | PE - 71W LED Hess Type II, 4000K (SR6003LVSUNIVA)
PF | PF - 50W LED Shoebox, 4000K (GLEONAF01E12TR)
PG | PG - 85W LED Shoebox, 4000K (GLEONAF02LEDE1T3800mA)
PH | PH - 66W LED Shoebox, 4000K (GLEONAF02LEDE1T3600mA)
PI | PI - 59W LED Shoebox, 4000K (GLEONAF01LEDE1T3)
PJ | PJ - 44W LED Shoebox, 4000K (GLEONAF01LEDE1T2R800)
PK | PK - 34W LED Shoebox, 4000K (GLEONAF01LEDE1T2R600)
PL | PL - 34W LED Shoebox Pedestrian, 4000K (GPCAF01LEDE1T4)
PM | PM - 35W LED Walkway, 3000K (GE EPTC0E330PL1B) Black
PN | PN - 22W LED Walkway - Bollard Integrated, 3000K
PO | PO - 83W LED Wallpack, 4000K (WPSLS3W40K)
PP | PP - 31W LED Cobrahead, 3000K (ERL104B3)
PPB | PPB - 31W LED Cobrahead, 3000K (ERL104B3) Black
PQ | PQ - 31W LED Cobrahead, 3000K (ERL104D3)
PQB | PQB - 31W LED Cobrahead, 3000K (ERL104D3) Black
PR | PR - 39W LED Cobrahead, 3000K (ERL105B3)
PRB | PRB - 39W LED Cobrahead, 3000K (ERL105B3) Black
PS | PS - 58W LED Cobrahead, 3000K (ERL107B3)
PSB | PSB - 58W LED Cobrahead, 3000K (ERL107B3) Black
PT | PT - 82W LED Cobrahead, 3000K (ERLH10B3)
PTB | PTB - 82W LED Cobrahead, 3000K (ERLH10B3) Black
PU | PU - 111W LED Cobrahead, 3000K (ERLH13B3)
PUB | PUB - 111W LED Cobrahead, 3000K (ERLH13B3) Black
PV | PV - 120W LED Cobrahead, 3000K (ERL216B3)
PVB | PVB - 120W LED Cobrahead, 3000K (ERL216B3) Black
PW | PW - 149W LED Cobrahead, 3000K (ERL219B3)
PWB | PWB - 149W LED Cobrahead, 3000K (ERL219B3) Black
PX | PX - 194W LED Cobrahead, 3000K (ERL223B3)
PXB | PXB - 194W LED Cobrahead, 3000K (ERL223B3) Black
PY | PY - 237W LED Cobrahead (240V), 3000K (ERL227B3)
PYB | PYB - 237W LED Cobrahead (240V), 3000K (ERL227B3) Black
PZ | PZ - 237W LED Cobrahead (480V), 3000K (ERL227B3)
Q | Q - 400W MV Cobrahead (Sep Ballast II)
QA | QA - 80W LED Post Top Chinatown, 5000K (EPE360)
QB | QB - 2W LED Handrail Pod, 3000K (KLIKUSA50LP5030KA40TP)
QC | QC - 35W LED Linear Underpass, 4000K (Lumenwerx VIA Splash 4FT)
QD | QD - 55W LED Underpass, 4000K (EnduraEDR24NB-55)
QE | QE - 9W LED Ped. Integrated Column, 4000K (OV1-16FT)
QF | QF - 30W LED Linear Underpass, 4000K (GVASTR9-10x60)
QG | QG - 20W LED Linear Underpass, 3500K (GVASTR9-80x80)
QH | QH - 15W LED Linear Underpass, 2700K (GVASTR9-80x80)
QI | QI - 10W LED Linear Handrail, 5500K (VarioFlexPhobos TV)
QJ | QJ - 2W LED In Ground, 2700K (Design Plan Bright 1.0)
QK | QK - 213W LED Shoebox, 4000K (GLEONAE04LEDE1T3)
QL | QL - 138W LED Shoebox, 3000K (GLEONAE7000LEDE1T3)
QM | QM - 209W LED High Mast (240V), 3000K (3PK130KMVOLTGMPSCP7)
QN | QN - 319W LED High Mast (240V), 3000K (3PK230KMVOLTGMPSCP7)
QO | QO - 168W LED Mongoose, 3000K (43KASMHVGNLPSCP7)
QP | QP - 25W LED Integrated Column, 4000K
QQ | QQ - 319W LED High Mast (480V), 3000K (3PK230KHVOLTGMPSCP7)
QR | QR - 18W LED Underpass, 3000K (DAC240-GB-VN-12LED-18W-3K)
QS | QS - 126W LED Shoebox, 3000K (GLEONAF03)
QT | QT - 150W LED Lumca Ovaali 16 Ave, 4000K (OL3572LED0740KL3120)
QU | QU - 55W LED Capella West District, 4000K (CPLS55W48LED4KLE3S)
QV | QV - 35W LED Capella West District Ped., 4000K (CPLS35W32LED4KLE3S)
QW | QW - 90W LED Capella West District, 4000K (CPLM90W80LED4KLE3S)
QX | QX – 111W LED Roundpack, 3000K (KIM1ACCS25A3P3596L3K208NFO) White
QY | QY – 228W LED Roundpack, 3000K (KIM1ACCS25A3P7096L3K208NFO) White
QZ | QZ - 126W LED Mongoose, 3000K (MGLEDM)
R | R - 400W MV Floodlight
RA | RA - 29W LED Cobrahead, 3000K (RFS-30W16-3K-R2M)
RAB | RAB - 29W LED Cobrahead, 3000K (RFS-30W16-3K-R2M-BLK) Black
RB | RB - 29W LED Cobrahead, 3000K (RFS-30W16-3K-4)
RBB | RBB - 29W LED Cobrahead, 3000K (RFS-30W16-3K-4-BLK) Black
RC | RC - 37W LED Cobrahead, 3000K (RFS-35W32-3K-R2M)
RCB | RCB - 37W LED Cobrahead, 3000K (RFS-35W32-3K-R2M-BLK) Black
RD | RD - 54W LED Cobrahead, 3000K (RFS-55W40-3K-R2M)
RDB | RDB - 54W LED Cobrahead, 3000K (RFS-55W40-3K-R2M-BLK) Black
RE | RE - 79W LED Cobrahead, 3000K (RFS-80W40-3K-R2M)
REB | REB - 79W LED Cobrahead, 3000K (RFS-80W40-3K-R2M-BLK) Black
RF | RF - 101W LED Cobrahead, 3000K (RFS-100W40-3K-R2M)
RFB | RFB - 101W LED Cobrahead, 3000K (RFS-100W40-3K-R2M) Black
RG | RG - 122W LED Cobrahead, 3000K (RFM-120W60-3K-R2M)
RGB | RGB - 122W LED Cobrahead, 3000K (RFM-120W60-3K-R2M) Black
RH | RH - 149W LED Cobrahead, 3000K (RFM-150W60-3K-R2M)
RHB | RHB - 149W LED Cobrahead, 3000K (RFM-150W60-3K-R2M) Black
RI | RI - 174W LED Cobrahead, 3000K (RFL-180W80-3K-R2M)
RJ | RJ - 207W LED Cobrahead (240V), 3000K (RFL-215W96-3K-R2M)
RK | RK - 207W LED Cobrahead (480V), 3000K (RFL-215W96-3K-R2M-480V)
RL | RL - 40W LED Shoebox, 4000K (GLEON-AF-01-E1-T2R-600)
RM | RM - 199W LED High Mast, 3000K (HMLED4P130KMVOLTHGRMASPR7SH)
RO | RO - 39W LED Wallpack Underpass, 4000K (WPS-L S1-W/40K/KV)
RP | RP - 52W LED Wallpack Underpass, 4000K (WPS-L S2-W/40K/KV)
RQ | RQ - 46W LED Wallpack Underpass, 4000K (EWNA-0-A4-F-40-1-N-GRAY-D)
RR | RR - 36W LED Horizontal Bar Underpass, 4000K (LOGHRO2404840KWWXXUMPSIDIM3GV)
RS | RS - 27W LED Wallpack, 4000K (LDWP-GL-3B-ED-7040-WG/WPGL)
RT | RT - 45W LED Horizontal Bar Underpass, 4000K (TES548145L40KDCC1DV5HPP)
RU | RU - 40W LED Mini Domus, 4000K (SY21P1-GAL-2)
RV | RV - 59W LED Wallpack Underpass, 3000K (GWCAF01LEDE1SL4AP7030WM)
RW | RW - 48W LED Walkway Twin Support, 3000K (EPTC-3-E3-41-P-L) Black
RX | RX - 40W LED Cobrahead, 3000K (195925-ATBS-P10-MVOLT-R23KNLP7)
RY | RY - 50W LED Cobrahead, 3000K (195926-ATBS-P20-MVOLT-R23KNLP7)
RZ | RZ - 113W LED Shoebox, 4000K (GLEON-AF-02-E1-8030-1A)
SA | SA - 101W LED Wallpack, 3000K (Cree Edge Type 3 Med. Dist.) Black
SB | SB - 190W LED Lumca Ovaali 16 Ave, 4000K (OL3590LED0740KL3120)
SC | SC - 25W LED Ridgeview Square, 4000K (Black)
SD | SD - 87W LED Domus, 3000K (CY55P1B-FGC-T3M-P60-30K)
SE | SE - 120W LED Acorn, 3000K (KCK118R) Black
SF | SF - 51W LED Shoebox, 3000K (RSX1-P1-30K-R2-PER7)
SG | SG - 258W LED Cobrahead, 3000K
SH | SH - 46W Bridge Under Canopy, 4000K (Cree)
SI | SI - 10W Bridge Linear Curb, 3000K (FaitLux)
SJ | SJ - 36W Bridge Wide Flood, 3000K (Erco)
SK | SK - 113W Galleon (T4FT-Gleon) Black
SL | SL - 25W LED Cobrahead, 3000K (RPS25W103KR2M)
SLB | SLB - 25W LED Cobrahead, 3000K (RPS25W103KR2MBK) Black
SM | SM - 25W LED Cobrahead, 3000K (RPS25W103K4)
SMB | SMB - 25W LED Cobrahead, 3000K (RPS25W103K4BK) Black
SN | SN - 35W LED Cobrahead, 3000K (RPS35W203KR2M)
SNB | SNB - 35W LED Cobrahead, 3000K (RPS35W203KR2MBK) Black
SO | SO - 50W LED Cobrahead, 3000K (RPS50W203KR2M)
SOB | SOB - 50W LED Cobrahead, 3000K (RPS50W203KR2MBK) Black
SP | SP - 75W LED Cobrahead, 3000K (RPS75W203KR2M)
SPB | SPB - 75W LED Cobrahead, 3000K (RPS75W203KR2MBK) Black
SQ | SQ - 80W LED Cobrahead, 3000K (RPS80W403KR2M)
SR | SR - 110W LED Cobrahead, 3000K (RPM110W403KR2M)
SS | SS - 110W LED Cobrahead, 3000K (RPM110W603KR2M)
ST | ST - 145W LED Cobrahead, 3000K (RPM145W803KR2M)
SU | SU - 160W LED Cobrahead (240V), 3000K (RPL160W1203KR2M)
SV | SV - 160W LED Cobrahead (480V), 3000K (RPL160W1203KR2M480V)
SW | SW - 60W LED Acorn (Retrofit), 3000K (KCK118RP4120277K4PR7)
SX | SX - 31W LED Post Top Mt. Royal, 2700K (ARUE3P10GL3)
SY | SY - 30W LED Walkway, 3000K (PR827618LED05)
SZ | SZ - 25W LED Walkway, 3000K (CLE17T4AFGFT2MP1010KVPXBKTX)
TAB | TAB - 31W LED Cobrahead Warm Tone, 2700K (GE-ERL104B3) Black
TBB | TBB - 39W LED Cobrahead Warm Tone, 2700K (GE-ERL105B3) Black
TCB | TCB - 58W LED Cobrahead Warm Tone, 2700K (GE-ERL107B3) Black
TDB | TDB - 82W LED Cobrahead Warm Tone, 2700K (GE-ERLH10B3) Black
TEB | TEB - 35W LED Cobrahead Warm Tone, 2700K (GE-EPTC0E330PL1B) Black
TFB | TFB - 31W LED Cobrahead Warm Tone, 2700K (GE-ERL1-04D3) Black
TG | TG - 44W LED Shoebox, 4000K (GLEONSA1B740UT2MABK)
TH | TH - 44W LED Shoebox, 4000K (GLEONSA1B740UT3RMABK)
TI | TI - 85W LED Shoebox, 4000K (GLEONSA2B740UT4FTMABK)
TJ | TJ - 85W LED Shoebox, 4000K (GLEONSA2B740UT4FTBK)
S | S - 1000W MH SquareHead/RoundHead (DwnTwn/ Olym Torch)
T | T - 1000W MV Cobrahead (BIH)
U | U - 250W MH PostTop
UNKNWN | Unknown
V | V - 200W HPS Cobrahead (BIH)
W | W - 250W HPS Cobrahead (BIH)
X | X - 400W MH Floodlight
Y | Y - 150W HPS Cobrahead (BIH)
Z | Z - 100W HPS PostTop (II -Walkway)
ZA | ZA - 100 Watt HPS Walkway (Shoebox)
ZB | ZB - 70 Watt HPS Walkway (Shoebox)
ZZ | ZZ - 100 Watt HPS Walkway
POLE TYPE | DESCRIPTION
1 | 1 - 9m x 2m Davit
2 | 2 - 10.7m T-Arm Embedded
3 | 3 - 10.7m Strain
4 | 4 - Transformer Base T-Arm
5 | 5 - Wood Pole
6 | 6 - 9m Anchor Base
7 | 7 - Transformer Base (Spigot)
8 | 8 - 9m x 2m x 2m Double Davit
9 | 9 - 9m x 2.5m Davit
10 | 10 - 9m x 2.5m x 2.5m Double Davit
11 | 11 - 9m Traffic St.Light Combo Pole
12 | 12 - 135° Double Davit (9m x 2m x 2m)
13 | 13 - Concrete Pole
14 | 14 - Ornamental Incandescent
15 | 15 - 7.5m x 2m Spigot
16 | 16 - Tear Drop
17 | 17 - 12m x 2.5m Davit
18 | 18 - 15m x 3m Davit
19 | 19 - 10m x 2.5m Davit
20 | 20 - 12m Strain Pole
21 | 21 - Mount Royal Pedestal Light
22 | 22 - 9m x 2.5m Davit Pole - Structurally Reinforced
23 | 23 - 15m x 2.5m Davit Pole - Structurally Reinforced
24 | 24 - 12m Traffic St.Light Combo Pole
25 | 25 - 8m Traffic Mast Arm
26 | 26 - 11m Traffic Mast Arm
27 | 27 - Traffic Mast Arm (School Zone)
28 | 28 - 12m Downtown Aluminum Pole
29 | 29 - 20m High Mast (Straight Shaft)
30 | 30 - 30m High Mast Pole
31 | 31 - 20m x 2m High Mast Davit
32 | 32 - 5m Walkway Pole
33 | 33 - 6m x 1m Davit
34 | 34 - 10m Rectangular Steel Pole
35 | 35 - 15m Steel Pole (Parks)
36 | 36 - 15m Traffic St.Light Combo Pole
37 | 37 - 6m Straight Pole
38 | 38 - 15m x 3m x 3m Double Davit
39 | 39 - 20m x 2m x 2m Double Davit
40 | 40 - 8m Blue LRT Pole (Prodel)
41 | 41 - LRT Streetlight Combo Pole
42 | 42 - 9m Square Steel Pole
43 | 43 - 5m Ornamental (10 St NW)
44 | 44 - 5m Chinatown Ornamental Pole
45 | 45 - 12m Downtown Pole - Structurally Reinforced
46 | 46 - 5m Traditional Pole (17 Av SW)
47 | 47 - 5m Ornamental (4 St SW)
48 | 48 - 4m Halophane Ornamental (Black)
49 | 49 - 8m Prodel (Black)
50 | 50 - 5m Prodel (Black)
51 | 51 - 7m Louise Bridge (Green)
52 | 52 - 7.8m Anchor Base (MacKenzie)
53 | 53 - 7.0m Step - Underbrace (Black)
54 | 54 - 6.5m Traditional (Electric Ave SW)
55 | 55 - Stephen Avenue Mall
56 | 56 - Olympic Way Pole
57 | 57 - Promonade Pole
58 | 58 - 8m (27 ft) Straight with Arm
59 | 59 - 9m Fibreglass Straight (Direct Buried)
60 | 60 - 7.8m Anchor Base DArm (MacKenzie)
61 | 61 - 15m x 2.5m Davit
62 | 62 - 20m x 2.5m Davit
63 | 63 - 15m x 2.5m x 2.5m Double Davit
64 | 64 - 14m x 1m x 1m T-Pole
65 | 65 - 7m Step with Finial (Elbow Dr)
66 | 66 - 7m Step Double Davit with Finial (Elbow Dr)
67 | 67 - 11m 16 Ave N Double
68 | 68 - 11m 16 Ave N Single
69 | 69 - 11m 16 Ave N Double (Median Bullnose - w/traffic)
70 | 70 - 11m 16 Ave N Single (Traffic Ext)
71 | 71 - 11m 16 Ave N Single (Traffic Push Buttn)
72 | 72 - 7m Step Underbrace (Green - 14 St/Mem.)
73 | 73 - 6.2m Traffic Streetlight Combo Pole (17 Ave)
74 | 74 - 6.2m Traffic Signal Bridge Streetlight Combo (17 Ave)
75 | 75 - 6m Straight Pole (Alternate Walkway)
76 | 76 - 5m Inglewood Pole (Dual Luminaire)
77 | 77 - 7m Step Underbrace (1 St SW)
78 | 78 - 5m Traditional Pole - No Shroud
79 | 79 - 9m Square Steel Pole - Structurally Reinforced
80 | 80 - Rouville Straight Steel (6 St SW)
81 | 81 - 6.2m Pedestrian Crosswalk Streetlight Combo
82 | 82 - 7.8m MacKenzie Towne Decorative Pole - Structurally Reinforced
83 | 83 - 6.2m Traffic Signal Bridge Only
84 | 84 - 7m Step Pole - Straight Arm (Memorial Dr)
85 | 85 - 7m Step Pole Double Davit - Straight Arm (Memorial Dr)
86 | 86 - 12m Transit Streetlight Combo (7 Ave Corridor) - Old
87 | 87 - 12m Transit Cantilever Streetlight Combo (7 Ave Corridor) - New
88 | 88 - 8m Transit Pedestrian Streetlight (7 Ave Corridor)
89 | 89 - Transit General Pole
90 | 90 - 6m Steel Round Pole - East Village (Single Post Top)
91 | 91 - 6m Steel Round Pole - East Village (Double Post Top)
92 | 92 - 8m Steel Round Suspension Pole (East Village)
93 | 93 - 9m x 2.5m x 2.5m 90° Double Davit
94 | 94 - 15m x 2.5m x 2.5m 90° Double Davit
95 | 95 - 20m x 2.5m x 2.5m 90° Double Davit
96 | 96 - 7.8m Mahogany Pole C/W Banner Arms
97 | 97 - 7.8m Mahogany Pole C/W Banner Arms - Double Davit
98 | 98 - 20m x 2.5m x 2.5m Double Davit
99 | 99 - 3.6m Greenway 4.5 OD Galvanized Pole - Single Davit
100 | 100 - Attached to Underpass
101 | 101 - Attached to Bridge
102 | 102 - Utility Pole w/ No Luminaire
103 | 103 - 3.6m Greenway 4.5 OD Galvanized Pole - Double Davit
104 | 104 - 7m Step Double Davit - Underbrace (Black)
105 | 105 - 9m x 2.5m Davit (Black)
106 | 106 - 9m x 2.5m x 2.5m Double Davit (Black)
107 | 107 - 15m Telecom Pole
108 | 108 - 20m Telecom Pole
109 | 109 - 30m Telecom Pole
110 | 110 - 8m Fluted Pole (Centre St. Bridge)
111 | 111 - 1m Fluted Pedstal Pole (Centre St. Bridge)
112 | 112 - 9m x 2.5m Davit Traffic Streetlight Pole (No Mast Arm)
113 | 113 - 15m x 2.5m Davit Traffic Streetlight Pole (No Mast Arm)
114 | 114 - 12m Concrete Pole (Airport)
115 | 115 - 8m Slanted Downtown Underpass Pole (White)
116 | 116 - 8m Concrete Pole - McKnight
117 | 117 - 8m Volunteer Way Pole with Ped. Davit (Centre St S)
118 | 118 - 20m x 2.5m x 2.5m Double Davit Pole
119 | 119 - 5m Cylindrical Straight Pole (4th St Underpass SE)
120 | 120 - 1m Walkway Bollard - Luminaire Integrated
121 | 121 - 6m Straight Round Pole (University)
122 | 122 - 6m Straight Round Pole - Ped. LED Panel (University)
123 | 123 - 8m Straight Round Pole (University)
124 | 124 - 8m Straight Round Pole - Ped. LED Panel (University)
125 | 125 - 7m Curved Greenway Pole with Ped. Davit (61 Ave SW)
126 | 126 - 9m Straight Round Traffic Pole (University)
127 | 127 - 15m x 2.5m Davit (Black)
128 | 128 - 15m x 2.5m Davit with Ped. Arm (Black)
129 | 129 - 4.8m Straight Round Ped. Column (8 St SW Underpass)
130 | 130 - 12m x 2.5m High Hand Hole Pole
131 | 131 - 4m Round Ped. Column - Luminaire Integrated (61 Ave Ped. Bridge)
132 | 132 - 12m x 2.5m Single Davit Double Handhole Pole
133 | 133 - 8.3m West District Pole with Ped. Davit
134 | 134 - 9m Round Non-Tapered Arm Mount (East Village)
135 | 135 - 9m Traffic Mast Arm, Round Non-Tapered (East Village)
136 | 136 - 7.8m Combination Pole with Ped. Davit (Mainstreet)
137 | 137 - 7.8m Non-Energized Banner Support Pole (Mainstreet)
138 | 138 - 7.8m Combination Pole with Ped. Davit (Mainstreet) - Structurally Reinforced
139 | 139 - 7m Traditional Style Pole (With Shroud)
140 | 140 - 7m Traditional Style Pole (With Shroud) - Structurally Reinforced
141 | 141 - 9m x 2.5m Standard with Ped. Arm (Mainstreet)
142 | 142 - 9m x 2.5m Standard with Ped. Arm (17 Ave SE MAX)
143 | 143 - 5m Straight Round Aluminum Walkway
BASE TYPE | DESCRIPTION
PCB-B1 | Type B1 - Pre Cast, 1.2-1.9m Deep, 1-4" Raceway
PCB-B2 | Type B2 - Pre Cast, 2.2m Deep, 6" Raceway
PCB-C1 | Type C1 - Pre Cast, 2.4m Deep, 1-4" Raceway
PCB-C2 | Type C2 - Pre Cast, 2.6m Deep, 6" Raceway
PIP-D1 | Type D - Poured in Place, Custom High Mast
POURED | Poured in Place, Old Standard
BRIDGE | Bridge Incorporated
SPECIL | Barrier Incorporated
SCREW | Screw
EMBED | Embedded
UNKNWN | Unknown
N/A | Not Applicable